## Overview
Technology category |  | Nuclear |  | Summary
Version |  |  | 1.2 | Generation costs increase with 18%. This increase in costs can be attributed to the rise in operating costs. The operating costs are however uncertain as sources differ much in reported operational costs. At the moment only the report of CE Delft has been used which is based on numbers from 4 older reports (MIT, 2003 ; RAE, 2004 ; DTI, 2006 and IEA, 2006).
Author |  | NR
Date | Version | Changes
2011-12-07 | 1 | First version
2012-01-04 | 1.1 | added ETM cost calculations
2012-01-13 | 1.2 | New table format |  | Certainties | Uncertainties
|  |  |  | · Investment costs | · Operating costs (comment)
· Technical lifetime
Coding |  |  |  | · Construction time
Example | Value extracted from one of the reports referred to in notes |  |  | · Decommissiong costs
Example | Calculation
Example | (default) Value as set by the ETM on 23-11-2011
Introducing remarks
· In this file you can find the research done on the generating costs of nuclear. |  |  |  | Total generation costs calculation outcomes: Nuclear III |  |  | New ETM | Old ETM | %∆
· This research will update the attributes of this technology (see output tab) which will be used for the ETM. |  |  |  | Total electricity generation costs |  | EURO/MWh | 59.4717 | 50.4696 | 17.84%
· Made fully available and transparent with the goal to stimulate the debate which will hopefully lead to a |  |  |  | Total capital costs |  | EURO/MWh | 28.7616 | 28.4804 | 0.9873%
continuous improvement of the ETM. |  |  |  | Total depreciation costs |  | EURO/MWh | 8.3229 | 9.8988 | -15.92%
· This research has made possible with help of the consulted sources, the knowledge within Quintel Intelligence |  |  |  | Total operating costs |  | EURO/MWh | 20.4459 | 10.1491 | 101.5%
and external validation (has yet to take place) |  |  |  | Fixed operating costs |  | EURO/MWh | 8.8459 | 6.2191 | 42.24%
· The folowing excel tabs relay information in the following order: |  |  |  | Variable operating costs |  | EURO/MWh | 11.6 | 3.93 | 195.2%
Sources à Notes à Calculations à Output |  |  |  | Total CO2 costs |  | EURO/MWh | 0 | 0 | 0%
· Supporting information is provided in the tabs: assumptions, supporting variables, reading guide |  |  |  | Total fuel costs |  | EURO/MWh | 1.9413 | 1.9413 | 0%
· For more information about the ETM and its cost calculations visit
http://wiki.quintel.com/index.php/Documentation
Note on Q11: Nick Rothengatter: Consulted source differ too much in specified operating costs and are therefore not reliable. An external expert has to be consulted.
Note on M27: Nick Rothengatter: How the ETM calculates fuel costs for nuclear plants (example): Energymix: 100% uranium oxide. Uranium price: 90 EURO/kg (updated weekly) Caloric value uranium oxide: 443000 MJ/kg 1 MJ = 0,000277777777778 MWh Fuel price in EURO/ MWh: 90 / 443000 /0,000277777777778 = 0,7 Efficiency Nuclear Plant: 36% Fuiel costs in EURO/ MWhe: ~ 2

## Assumptions
List of most important assumptions used
Important assumptions
All costs are in 2010 EURO excl tax and subsidies
In calculations when certain values were not found values as set by the ETM on 23-11-2011 were used as an assumption (these values are colored red).
Powerplant are constucted on undeveloped (e.g. greenfield) land.

## Sources
List of sources used for converter specifications
| Number | Name | Used in calculations? | Refman ID
| 1 | CE Delft_20110701_Nuclear energy - The difference between costs and prices | Yes | 2011_CE_EM.Ec
| 2 | Citigroup_20091109_New nuclear - The economics say no | No. Lack of details. But give investment costs indication.
| 3 | DECC_2010601_UK Electricity Generation costs update | No, UK figures
| 4 | DECC_201108_Electricity Generation Cost Model -2011 update revison 1 | No, UK figures
| 5 | ECN_201003_Kernenergie en Brandstofmix | No, ECN makes use of the IEA_NEA_2010 figures
| 6 | EIA 201011_Updated capital costs estimates for electricity generation plants | Yes | 2010_EIA_EM.Ec
| 7 | http://world-nuclear.org/info/inf02.html | Yes, only decommisioning data found | Use weblink
| 8 | IEA and NEA_20100325_Projected Costs of Generating Electricity | Yes | 2010_IEA_EM.ec
| 9 | MIT_2009_Update on the cost of nuclear power | No, US figures
| 10 | EFA_201104_The World Nuclear Industry Status Report 2010-2011 | Yes, only construction time data found | 2011_EFA_EM.Ec
| 11 | ECF_2011_Power Perspectives 2030 | No, scenario 2020 case

## Notes
Source | Page | Notes | Calculations etc
DECC_20110501_Costs of low-carbon generation technologies
6_4
|  |  | 60 | y | Plant life
|  |  | 3200 | £/kW | EPC costs
| 3_65 | The headline figure often talked about by the leading UK developers (EdF and Horizon) and the UK
government is £10bn for a twin or triple unit plant with a capacity of about 3GW net. This is equivalent to
about £3300/kW. This figure is comparable to the revised estimates for the two EPRs under construction
in Finland and France (Olkiluoto 3 [OL3] and Flamanville 3).
|  | The midpoint rates for nuclear and offshore wind are 11% and 12%, | 0.115 | % | discount rate
respectively. All discount rates are presented as expected real, pre-tax returns to debt
and equity capital
| 3_65 | There is considerable uncertainty about the current costs of newbuild nuclear in the UK, largely because
there is no recent track record of projects and only limited indications of the current preliminary tender
prices or developers’ budgets.
| 3_66 | Table 3.33 shows MML’s assessment of current capital cost build up for a PWR in the UK, with costs | 3000 | MW | Capacity
expressed in £/kW installed on the basis of a 2-3 units with a net capacity of about 3GW.
| 3_66 | It should be noted that the estimate in Table 3.33 includes the uplift from the current congested EPC
market. MML’s view is that this is around 20%, similar (if not higher) than that for large supercritical coal
plants. This congestion premium is thought to be most marked for the nuclear components, the civil works
and turbine-island and mainly reflects supply chain constraints.
| 3_68 | Our central view is that capital costs for PWR and BWR (we see little difference between them) will fall from
£3500/kW today to £2000-2500/kW in 2020 and £1600-2450/kW in 2040. This assumes that the whole of
the current market mark-up, which is worth over £700/kW is eliminated by 2020. It will also require that the
construction process in future moves away from the current substantial requirement for onsite labour,
through better logistics control and/or increased reliance on offsite modular assembly. Table 3.34 shows
the projected cost projections under MML’s central case for 2020 and 2040. This shows the biggest
savings in civil works, reactor island and fuel pathway, which reflects a combination of end of market
congestion and application of learning and supply chain improvements.
| 6_2 | Assumed fixed operations and maintenance costs by technology, expressed as a % of EPC costs | 1.5% | % | Fixed O&M costs (excluding insurance and grid charges) in 2010/11
| 6_3 | Variable O&M excluding fuel, carbon, decommissioning fund and CO2 disposal fees in £/MWh | 2 | £/MWh | Variable O&M
DECC_201108_Electricity Generation Cost Model -2011 update revison 1 | 86
Nuclear III FOAK
|  |  | Not reliable | % | Efficiency
|  |  | 6 | yr | Construction period
|  |  | 60 | yr | Technical lifetime
|  |  | 72000 | £/MW/yr | O&M fixed fee
|  |  | 10000 | £/MW/yr | Insurance
|  |  | 0.6 | £/MWh | O&M variable fee
|  |  | 90.8% | % | average load factor
|  |  | 3.6 | £/kWh | Infrastructure costs
|  |  | 3529 | £/kW/y | EPC costs
|  |  | Not reliable | % | Average degredation
|  |  | - | £/MWh | CO2 transport and storage costs
|  |  | 5238 | £/MW | Connection and transmission network use of system (TNUoS) charges
|  |  | 3300 | MW | Capacity
|  |  | 1 | % | Net efficiency
| 6 | A nuclear station will cost 30-50% more than a coal station, given the complexity of its foundations and buildings, and the higher cost of the reactor and cooling system versus a supercritical boiler.
CE Delft_20110701_Nuclear energy - The difference between costs and prices |  | Decommissioning costs In the Netherlands, institutions wishing to build a new nuclear power plant are obliged to provide financial guarantees covering the full cost of decommissioning the plant at the end of its operational life. These arrangements must be in place at the start of production (when the fuel rods are first placed in the reactor) and be updated every five years (Tweede Kamer, 2011a; see Section B.3 for more details). This arrangement prevents the State from being exposed in any way to shortfalls in reserves for the costs of decommissioning a nuclear facility and minimises the risk of socialisation of remaining decommissioning costs.
20
| 15 | For a nuclear plant with a 6-year construction period, | 6 | y | Construction time
|  |  | 0.125 | % | Discount rate
One of the reasons for the increase in financing costs in recent years is the liberalisation of many electricity markets.
Furthermore, in a full competition model, banks want a faster return on investment and demand a higher share of the equity. In this situation the cost of private capital for capital-intensive investments will be much higher than in a regulated environment, making a 10-15% discount rate more appropriate for this kind of competitive, deregulated environment. As a consequence, the cost of capital will most likely increase substantially.
Waste management: EPZ, the operator of the present Borssele nuclear plant, has thus far paid € 257 million in provisions for reprocessing and storage costs (EPZ, 2010). Historically, this translates to around €cent 0.2 per kWh.
20
Insurance
|  | Operators and the government together bear the legal liability in the event of an accident at a nuclear (power) facility. This shared liability is specified in the Nuclear Incident Liability Act (Wet aansprakelijkheid kernongevallen; Wako; see Rijksoverheid, 2008), which is based on the Treaties of Paris (1960) and Brussels (1963). This act divides liability for incident costs into four tranches (see Table 1). The first tranche is an insurance taken out by the operator, covering liability up to € 700 mln. | 7070.7071 | EURO/MW/y | Insurance
| 22 | Operational and maintenance costs
In addition to fuel and waste management costs come the costs of operations and maintenance (O&M), comprising such items as personnel costs, overhead costs, real estate expenses, insurance premiums, deprecation of equipment, equipment maintenance and replacement costs and so on. Together, these costs amount to 1.05 € cent/kWh for the variable part and around € 63 per kW per year for the fixed costs, and make up the bulk ofthe variable costs of nuclear power (costs figures from ECN 2007; see Annex E).
|  | Of these costs, those associated with the security of nuclear facilities and transports can be characterised as a social cost. The 2011 budget of the Ministry of Environment and Infrastructure reserves € 5.5 million for ‘Protection against radiation’ (Rijksbegroting 2011). Assuming that 75% of this can be attributed to nuclear power generation, this would mean costs for society of some 0.11 €cent/kWh. | 110 | EURO/MWh | Social costs
58
|  |  | 3500 | EURO/kW | Overnight construction cost
|  |  | 1050 | EURO/kW | IDC
| 58 | To a large extent the costs reported in Table 2 are overnight construction costs for EPC. These are only part of the costs, however, for in addition to the above figures investors are also concerned with finance charges, i.e. interest costs incurred during construction (IDC). Assuming an EPR design, the impression to emerge from various sources for the average construction costs (installation and equipment costs) is a figure of about € 3,000-4,000 per kW For a nuclear plant with a 6-year construction period, IDC amounts to approximately 30% of overnight costs (+/- 5%).
| 87 | Generating technologies are shown in order of increasing fixed costs. The calculation is performed for a new base load power plant with a capacity of 1,000 MWe, constructed using the best available techniques and assuming recent fuel prices. | 1000 | MW | Capacity
|  |  | 0.125 | % | WACC
| 87 | For all technologies a discount rate of 12.5% has been taken
In OECD countries the average capacity factor of a nuclear plant is 80%19. Cumulatively, since its start-up in 1973, the existing Borssele reactor is 85% productive (IAEA, 2011). The capacity factor attainable for a new plant depends on a number of issues, including It is important to note that capacity factors constitute a key assumption in price estimates of nuclear power. The capacity factors of 90% observed today took a decades-long learning process to achieve, and to assume that a new reactor achieves this number of load hours right from day one will almost certainly be an overestimate (Cooper, 2009).possible start-up problems, component failures and inexperience with operational control of the new plant. It is to be expected that at first the capacity factor of a new plant will be below target and then gradually improve up to the 90% level, a level that Borssele has been able to reach from 1999 onwards (IAEA, 2011).
75
| 68 | At a burn-up rate of 60 GWd/t, for which an EPR-type reactor is designed, and a thermal to electric efficiency of 36%, this amount of reactor fuel yields 518,400 kWh, hence fuel costs amount to 0.36 €cent/kWh. | 36% | % | Efficiency
|  |  | 7900 | hours | Full load hours
|  |  | 3400 | EURO/kW | Investment costs
|  |  | 3.7 | EURO/MWh | fuel costs
| 89 |  | 62.67 | EURO/kW/y | Fixed costs
|  |  | 10.5 | EURO/MWh | Variable O&M costs
|  |  | 1 | EURO/MWh | Decommisioning costs
|  |  | 1.1 | EURO/MWh | Waste treatment
|  |  | 60 | y | lifetime
10.5
| 13 | when debating the construction costs of a new nuclear power plant, comparisons must be based on financing dynamics under liberalised market conditions.
MIT_2009_Update on the cost of nuclear power | 2 | The results show that the overnight cost of building a nuclear power plant has
|  | approximately doubled—see Table 1. Where the MIT (2003) study considered a base | 4000 | USD/kW | Overnight cost
case overnight cost of $2,000/kW, denominated in 2002 dollars, we find a range of
overnight costs around $4,000/kW, denominated in 2007 dollars.
EFA_201104_The World Nuclear Industry Status Report 2010-2011
37
|  |  | 5.9167 | y | Construction time
28
| 32 | In June 2010, the U.K. government published new cost estimates, prepared by consulting firm Mott
Macdonald, forecasting the overnight cost of a “First of a Kind” (FOAK) nuclear plant as $6,000 per
kW.19 Costs would then fall with experience, with the “Nth of a Kind” plant costing only $4,500 per
kW, but likely not for orders placed before 2025. For a FOAK EPR, the cost estimate would equate to
£6 billion ($9.9 billion) for an EPR and £4.5 billion ($7.4 billion) for an AP1000—costs in line with
those from construction projects, tenders, and U.S. utility estimates.
|  | Decommissioning costs are about 9-15% of the initial capital cost of a nuclear power plant. But when discounted, they contribute only a few percent to the investment cost and even less to the generation cost. In the USA they account for 0.1-0.2 cent/kWh, which is no more than 5% of the cost of the electricity produced. | 0.0015 | USD/kWh | Decommisioning cost
http://world-nuclear.org/info/inf02.html
date 9 march 2011
http://www.world-nuclear.org/info/inf19.html |  | In most countries the operator or owner is responsible for the decommissioning costs.
The total cost of decommissioning is dependent on the sequence and timing of the various stages of the program. Deferment of a stage tends to reduce its cost, due to decreasing radioactivity, but this may be offset by increased storage and surveillance costs.
Even allowing for uncertainties in cost estimates and applicable discount rates, decommissioning contributes a small fraction of total electricity generation costs. In USA many utilities have revised their cost projections downwards in the light of experience.
Financing methods vary from country to country. Among the most common are:
Prepayment, where money is deposited in a separate account to cover decommissioning costs even before the plant begins operation. This may be done in a number of ways but the funds cannot be withdrawn other than for decommissioning purposes.
External sinking fund (Nuclear Power Levy): This is built up over the years from a percentage of the electricity rates charged to consumers. Proceeds are placed in a trust fund outside the utility's control. This is the main US system, where sufficient funds are set aside during the reactor's operatinig lifetime to cover the cost of decommissioning.
Surety fund, letter of credit, or insurance purchased by the utility to guarantee that decommissioning costs will be covered even if the utility defaults.
In USA, utilities are collecting 0.1 to 0.2 cents/kWh to fund decommissioning. They must then report regularly to the NRC on the status of their decommissioning funds. About two thirds of the total estimated cost of decommissioning all US nuclear power reactors has already been collected, leaving a liability of about $9 billion to be covered over the remaining operating lives of 104 reactors (on basis of average $320 million per unit).
An OECD survey published in 2003 reported US dollar (2001) costs by reactor type. For western PWRs, most were $200-500/kWe, for VVERs costs were around $330/kWe, for BWRs $300-550/kWe, for CANDU $270-430/kWe. For gas-cooled reactors the costs were much higher due to the greater amount of radioactive materials involved, reaching $2600/kWe for some UK Magnox reactors.
IEA and NEA_20100325_Projected Costs of Generating Electricity | 43 |  | 15% | % | Decommisoning costs (of construction costs)
|  |  | 0.33 | % | efficiency
|  |  | 60 |  | expected lifetime
Decommission costs (or dismantling costs) are the costs to dismantle the plant. These costs are often set to zero as developers assume that dismantling costs will be compenstaed by the residual value of the plant.
|  |  | 60 | y | Expected lifetime
|  |  | 5105 | USD/kWe | Overnight cost Netherlands PWR
|  |  | 13.71 | USD/MWh | O&M costs
|  |  | 85% | % | Load factor
|  |  | 1400 | MW | Capacity
|  |  | 9.33 | USD/MWh | Fuel cycle costs
Assuming baseload generation, the study applies a generic 85% load factor in calculating levelised average lifetime costs for nuclear, coal-fired and gas-fired power plants in order to be able to compare the relative cost of a kWh produced by these different technologies.
ECN_201003_Kernenergie en Brandstofmix | 61 | Schatting nieuwe kerncentrale in Nederland
|  | De schattingen voor een kerncentrale in Nederland komen resp. uit op 43 tot 71 €2008/MWh, en | 0.14 | EURO/MWh | Decommisioning costs
zijn vergelijkbaar met die van België en Eurelectric. De operationele kosten komen op bijna 17
€2008/MWh. Deze kosten bestaan uit max. 0,14 €2008/MWh ontmantelingskosten, 9,3 €2008/MWh
B&O-kosten en 6,3 €2008/MWh splijtstof(cyclus) kosten. De kapitaalslasten zijn afhankelijk van
de gehanteerde disconteringsvoet en liggen tussen de 26 en 54 €2008/MWh, bij resp. 5% en 10%.
112
Netherlands
|  |  | 3471 | EURO/kW | Overnight cost
|  |  | 9.3 | EURO/MWh | Total O&M costs
|  |  | 1650 | MW | capacity
|  |  | 6.3 | EURO/MWh | Splijtstofkosten
57
| 63 | De prijzen van zowel hernieuwbare als conventionele energietechnologieën nemen sinds 2002
vooral toe.Dit geldt voor zowel conventionele kolen- en gascentrales, kerncentrales, als tevens
voor duurzame technologie zoals windenergie en zon-PV. Deze algehele kostenescalatie werd
veroorzaakt door een combinatie van toenemende vraag naar deze technologieën en toenemende
kosten voor grondstoffen (staalprijzen) en energie. Waar voor innovatieve en duurzame technologieën
eerder vaak leercurves werden verondersteld die - bij verdere toename van het opgesteld
vermogen - een kostendaling zouden moeten laten zien, blijkt dat concept in de afgelopen jaren
niet dominant te zijn geweest in de kostenontwikkeling. De OECD (OECD, 2010) stelt dat in de
periode 2004-2008 een kostenstijging van minimaal 50% is waargenomen. Een studie van Jacobs
(Jacobs, 2008) bevestigt die ontwikkeling.
In de loop van 2009 wordt een kentering in deze kostenstijgingen waargenomen voor onder andere
kolen- en gascentrales en kerncentrales.39 Deze - beperkte - daling wordt vooral toegeschreven
aan dalende grondstofprijzen en ruimere marktcondities, beide een gevolg van de
mondiale economische crisis.
36
Citigroup_20091109_New nuclear - The economics say no |  | The Finnish EPR at Olkiluoto has been plagued by many delays during | 3300 | EURO/kW | Overnight costs
construction and is currently 3 years behind schedule, having originally
targeted commissioning in 2009. The original cost estimate for Olkiluoto was
€3bn. However, due to delays, planning problems (construction started in
2005), and issues with materials, Areva’s latest estimate (August 2009) is that
costs have risen by €2.3bn and could increase further depending on the
outcome of negotiations between the owner, TVO, and Areva on the timeline for
completion. Therefore at a running total of €5.3bn, costs stand at €3,300/kw
($4,785/KW) and although this is the first EPR project, and teething troubles
ought to be expected, it is still indicative of the risks that we think equity
investors should be concerned about.
EIA 201011_Updated capital costs estimates for electricity generation plants | 156
12_4
Nuclear
|  |  | 88.75 | USD/kW | Fixed costs
|  |  | 2.04 | USD/MWh | Variable costs
|  |  | 5338.5912 | USD/kW | Overnight costs
|  |  | 962.6968 | USD/kW | Owners cost
|  |  | 581.3953 | USD/kW | Contingency and fee
|  |  | 3794.4991 | USD/kW | EPC
|  |  | 2236 | MW | Capacity
Dual unit nuclear capacity (nominal) is set at 2236 MW
AP1000 PWR basis
2_7
ECF_2011_Power Perspectives 2030
| 33 | In nuclear technology, there are only two examples of new build using EPR technology in Europe (in Finland and France). Both projects have been subject to significant cost and schedule over-runs. In the aftermath of the Fukushima nuclear incident, additional safety requirements are likely to create further capex requirements – creating greater uncertainty for investors and making the deployment of new nuclear even more dependent upon public financing support. Thus, for both existing and new nuclear capacity, there is a large uncertainty about development of cost, pending the EU stress test to be performed from June 2011 onwards and potential additional security regulations following those and national nuclear safety assessments.
34
| 35 | In the wake of the Fukushima accident, deployment of nuclear energy is being phased out in Germany and Switzerland and blocked in Italy. Governments in France, the Netherlands, Sweden and the UK have expressed continued support for nuclear deployment although the level of continued public support is less clear.
75
Note on E11: Nick Rothengatter: take a lower amount than suggested as congestion premium will be probably lower coming years due to Fukishima (2011 onwards)
Note on E62: Nick Rothengatter: Variable O&M excluding fuel, carbon, decommissioning fund and CO2 disposal fees in £/MWh
Note on E69: Nick Rothengatter: Avera say construction is likely to take 42 months, i.e. 6 months longer than Westinghouse. The figures show this 6 months difference.
Note on E70: Nick Rothengatter: Current reactor manufacturers are quoting a technical life of 60 years. Timings supplied are less due to licensing restrictions. Extension to the license period of the plant is likely (to utilise the whole technical life of the reactor) but is likely to included repowering and therefore additional capital costs, and therefore this has not been included. Nick: Will take 60 years
Note on E71: Nick Rothengatter: Prices based on the last UK based project - and adjusted due to any learning from studies, conferences, projects, etc. FOAK prices assumed to be 20% higher than NOAK
Note on E72: Nick Rothengatter: Figures based on current nuclear experience within the UK
Note on E73: Nick Rothengatter: Variable prices based on prices for water treatment for CCGT. Scaled up from the amount used for coal plant, by 50%. FOAK prices assumed to be 20% higher than NOAK Nick: Strange way to calculate, will therefore not use this number in analysis
Note on E79: Nick Rothengatter: Based on NG UoS charge zones. Zones in which generation could be built were selected, then max, average and min selected as high, med and low levels.
Note on G83: Nick Rothengatter: comment Chris: What is the order of magnitude of these costs? For the grid capacity costs, we received the following rule of thumb from TenneT: The costs are 20% of the capacity, so for example adding a 400MW plant to an already full network costs 80MEUR in extra network investments. source: mail
Note on B448: Nick Rothengatter: ECN makes use of the IEA_NEA_2010 figures
Note on E460: Nick Rothengatter: In de genoemde brandstof- en B&O bedragen, zitten tevens de kosten van afvalverwerking en ontmanteling van de centrale. Tevens zit in de kosten een bedrag om aan het eind van de levensduur tegen het geldende tarief het afval door instanties als in Nederland de Covra, die zorgdragen voor de eindberging van het afval. P. 108
Note on E546: Nick Rothengatter: FOM expenses exclude owner's costs (e.g. insurance, property tax, amd asses management fees) p. 2- 11
Note on E547: Nick Rothengatter: VOM expeneses include major maintenance p. 2-11
Note on E548: Nick Rothengatter: % increase w.r.t. AEO 2010 is 37% (estimated figure was 3902 USD/kW

## Calculations
Checks and balances and other calculations
Nuclear III
Sources
|  |  | Data | New ETM | Old ETM | %∆ | %SD | CE Delft_2011 | EFA_2011 | World-nuclear.org | IEA_NEA_2010 | Comments
|  |  | Units/Region |  |  |  |  | NL | World | World | OECD
Technical specifications
Capacity/yield
|  | Production capacity Gross | MWe | 1650 | 1650 |  |  | 1000 |  |  | 1400 | Assumed to be 1650 MW, as standard in the ETM
|  | Average effective output of nomimal capacity over lifetime | % | 96.97% | 96.97% |  |  | 96.97% |  |  | 97% | Assumed to be 97%, as standard in the ETM
|  | Production capacity Effective | MWe | 1599.9984 | 1599.9984 |  |  | 969.696 |  |  | 1358 | Assumed to be 1600 MW, as standard in the ETM
|  | Net Electrical yield / efficiency | % | 36% | 36% |  |  | 36% |  |  | 33% | Assumed to be 36%, as standard in the ETM
|  | Capacity factor/ Load factor | % | 90% | 90% |  |  | 90.18% |  |  | 85% | Calculation from equivalent full load hours
|  | Equivalent full load hours | hours | 7884 | 7884 |  |  | 7900 |  |  | 7446 | See comment in this cell for more elaborate argumentation.
|  | Average energy production | GWh/y | 12614.3874 | 12614.3874 |  |  | 7660.5984 |  |  | 10111.668 | Calculation from equivalent full load hours and effective capacity.
Other
|  | Construction time | years | 6 | 5 | 20% |  | 6 | 5.9167 |  | 5 | See comment in this cell for more elaborate argumentation.
|  | Weighted average cost of capital (WACC) | % | 0.12 | 0.12 |  |  | 0.125 |  |  | 0.12 | Assumed to be 12%, as standard in the ETM
|  | Technical lifetime | years | 60 | 50 | 20% |  | 60 |  |  | 60 | See comment in this cell for more elaborate argumentation.
|  | Residual value | EURO/MW | 0 | 0 |  |  | 0 |  |  | 0 | Assumed to be zero, as standard in the ETM
Finacial specifications
Investment costs
|  | Initial investment costs | EURO/MWe | 3435700 | 3402111 | 0.9873% | 1.469% | 3400000 |  |  | 3471400 | Calculated average.
|  | Construction cost | EURO/MWe
|  | IDC | EURO/MWe
|  | Overnight cost | EURO/MWe |  |  |  |  | 3400000 |  |  | 3471400
|  | Contingency costs | EURO/MWe | [7 empty] | 3471400
|  | Bare plant cost (EPC) | EURO/MWe |  |  |  |  | 3400000
|  | Owner's costs | EURO/MWe |  |  |  |  | 0
|  | Decommissioning costs | EURO/MWe | 501386.1976 | 500000 | 0.2772% |  | 474000 |  | 509448.5928 | 520710 | Calculated average.
Operating costs
|  | Fixed operating and maintenance costs | EURO/MWe/year | 69740.7071 | 49031 | 42.24% | 141.4% | 69740.7071 |  |  | 0 | See comment in this cell for more elaborate argumentation.
|  | Personnel costs | EURO/MWe/year
|  | Insurance costs | EURO/MWe/year |  |  |  |  | 7070.7071
|  | Connection costs | EURO/MWe/year
|  | Other | EURO/MWe/year |  |  |  |  | 62670
|  | Variable operating and maintenance costs | EURO/MWh | 11.6 | 3.93 | 195.2% | 21.09% | 11.6 |  |  | 15.6672 | See comment in this cell for more elaborate argumentation.
|  | Consumables | EURO/MWh
|  | Other | EURO/MWh |  |  |  |  | 1.1 |  |  | 6.3444
Total generation costs calculation outcomes
|  | Total electricity generation costs | EURO/MWh | 59.4717 | 50.4696 | 17.84% | 3.969% | 60.1309 |  |  | 56.8479
|  | Total capital costs | EURO/MWh | 28.7616 | 28.4804 | 0.9873% | 1.688% | 29.5886 |  |  | 30.3037
|  | Total depreciation costs | EURO/MWh | 8.3229 | 9.8988 | -15.92% | 6.304% | 8.173 |  |  | 8.9357
|  | Total operating costs | EURO/MWh | 20.4459 | 10.1491 | 101.5% | 18.65% | 20.4279 |  |  | 15.6672
|  | Fixed operating costs | EURO/MWh | 8.8459 | 6.2191 | 42.24% | 141.4% | 8.8279 |  |  | 0
|  | Variable operating costs | EURO/MWh | 11.6 | 3.93 | 195.2% | 21.09% | 11.6 |  |  | 15.6672
|  | Total CO2 costs | EURO/MWh | 0 | 0 | 0% | 0% | 0 |  |  | 0
|  | Total fuel costs | EURO/MWh | 1.9413 | 1.9413 | 0% | 0% | 1.9413 |  |  | 1.9413 | See comment in this cell for more elaborate argumentation.
Note on M13: Nick Rothengatter: The full load hours remain unchanged. The full load hours are high as Nuclear power functions as a base load powe plant.
Note on M16: Nick Rothengatter: Six years is the average construction time of a nuclear power plant constructed in the time 2005-2010 (worldwide 10 plants were constructed). Source: Worldwatch 2011
Note on M18: Nick Rothengatter: Literature(CE Delft, Worldwatch, IEA and NEA) shows 60 years is a reliable figure for the technical lifetime of a nuclear plant
Note on C22: Nick Rothengatter: The ETM uses overnight costs as total initial investment costs. IDC is taken into account by the WACC.
Note on C23: Nick Rothengatter: Is "all-in" or installed cost.s, which sums overnight construction costs and interst during construction (IDC).
Note on C24: Nick Rothengatter: IDC stands for interest during construction. The ETM doesn't use IDC but calculated the costs of capital. The cost of capital is the amount of money that is spent yearly to finance the required investment for the device. It assumes that the capital required either costs money to finance, or could have been used to generate money elsewhere. This is a percentage of the average investment over the lifetime of a device, which is called the WACC, the weighted average cost of capital. The WACC is very country specific. In the ETM the WACC is set to 6% for domestic appliances and to 10% for industrial and larger applications.
Note on C25: Nick Rothengatter: Analysts often refer to the construction costs as to “overnight cost” or undiscounted capital outlays. This is the cost that will be realized if the power plant could be built instantaneously or during one night. It does not incorporate financing charges and inflation during the construction time (IDC).
Note on C26: Nick Rothengatter: cost increases resulting from unforeseen technical or regulatory difficulties
Note on C27: Nick Rothengatter: EPC stands for Engineering, Procedurement and Construction. This is also known as the "Bare plant costs".
Note on C28: Nick Rothengatter: Owner's costs are the costs that are related to develop and start up the plant (e.g. land, cooling infrastructure, administration and associated buildings, site works, switchyards, project management, licences, etc.)
Note on L29: Nick Rothengatter: decomissiong costs are 15% of investment costs taken as an assumption in report
Note on L31: Nick Rothengatter: not available in source. Only O&M costs in MWh specified
Note on M31: Nick Rothengatter: Took the number of CE Delft as IEA_NEA does not keep apart variable and fixed O&M costs . CE Delft took the average of four studies (see notes).
Note on I33: Nick Rothengatter: calculated using a lifetime of 60 years
Note on I36: Nick Rothengatter: Took the number of CE Delft as IEA adds variable and fixed costs together and would therefore be an overestimate. CE Delft took the number from ECN (2007) which is an average of four older studies (MIT, 2003 ; RAE, 2004 ; DTI, 2006 and IEA, 2006).
Note on M36: Nick Rothengatter: Took the number of CE Delft as IEA_NEA does not keep apart variable and fixed O&M costs . CE Delft took the average of four studies (see notes).
Note on I38: Nick Rothengatter: waste treatment
Note on L38: Nick Rothengatter: includes fuel cycle costs
Note on M47: Nick Rothengatter: How the ETM calculates fuel costs for nuclear plants (example): Energymix: 100% uranium oxide. Uranium price: 90 EURO/kg (updated weekly) Caloric value uranium oxide: 443000 MJ/kg 1 MJ = 0,000277777777778 MWh Fuel price in EURO/ MWh: 90 / 443000 /0,000277777777778 = 0,7 Efficiency Nuclear Plant: 36% Fuiel costs in EURO/ MWhe: ~ 2

## Output Nuclear
Output
The (new) output values are used to update the costs converters in the Energy Transition Model.
Nuclear III
|  |  |  | Nuclear III | New
|  | all costs excl tax and subsidies | sector | energy
Technical
|  | Nominal electrical capacity | MW | 1650 | 1650
|  | Average effective output of nomimal capacity over lifetime | % | 97% | 97%
|  | full load hours | hours per year | 7884 | 7884
|  | electrical efficiency | % | 36% | 36%
|  | heat efficiency | % | 0% | 0%
Cost
|  | Initial investment (excl CCS) | euro/MWe capacity | 2942121.2121 | 3435700
|  | Inititial investment per unit for CCS | euro/MWe capacity | 0 | 0
|  | Cost of installing | euro/MWe capacity | 0 | 0
|  | Residual value after lifetime | euro/MWe capacity | 0 | 0
|  | Decommissioning costs | euro/MWe capacity | 500000 | 501386.1976
|  | fixed operation and maintenance costs | euro/MWe capacity/year | 49031.2696 | 69740.7071
|  | variable operation and maintenance costs (excl CCS) | euro per full_load_hour | 6288 | 18559.9814
|  | additional operation and maintenance costs for CCS (per full load hour) | euro per full_load_hour | 0 | 0
|  | Weighted average cost of capital | % | 0.12 | 0.12
|  | Do emissions have to be paid for through the ETS? | yes=1/no=0 | 1 | 1
Other
|  | Land use per unit | km2 | 5 | 5
|  | Construction time | years | 5 | 6
|  | Technical lifetime | years | 50 | 60

## Supporting variables
Name supporting variable | Value | Remarks
Exchange_rate_iea_2010 | 0.71585 | All costs were in 2008 USD
Exchange rate CEC_2009 | 0.695 | USD to EUR on 4 jan 2010
Exchange rate OECD_IEA_2010 | 0.74074
Exchange rate MIT_2009 | 0.74365 | All costs were in 2007 USD
Exchange rate IEA_NEA_2010 | 0.68
Exchange rate decc | 1.1
Exchange_rate_dollar_euro_2011 | 0.71798 | 1 euro = 1,4389 dollar on 4 jan, 2010 / 1 euro= 1, 3928 dollar on 9-3-2011
kW to MW | 0.001
MW to GW | 0.001
Full capacity | 100%
# hours in a year | 8760
GJ_to_MW | 1000
Nuclear_capacity | 1650
full_load_hours_nuclear_III | 7884

## Reading guide
Reading guide
The excel file is set up to provide you an insight into the research done on the electricity generation costs that supports parts of the ETM input database. The excel file is built up by the following tabs:
1. Overview
The overview tab. Here you can find introducing remarks and coding explanation. Next to this the tab gives the outcomes and the changes of the total generation costs.
2. Assumptions
This tab gives you a list of the most important assumptions. More general assumptions about the ETM can be found on the wiki, her you can also find more information about the cost calculations: http://wiki.quintel.com/index.php/Documentation#Modeling_logic
3. Sources
Here you can find an alphabetically-sorted list of all the sources consulted. Sources can be used for multiple reasons (e.g. for lines of argumentation, definitions, costs data). Some of the consulted sources are used in the calculations tab, but most aren’t. A short reason why some sources are included but others aren’t can be found in the column next to the name of the source. The sources can be retrieved using the refmanager of the ETM: http://refman.et-model.com/
4. Notes
Each of the consulted sources contained information. What was judged as valuable information is noted here. As described above the information varies from definitions and general opinions or trends to more specific costs specifications.
5. Calculations
The so-called “heart” of the analysis. Whenever there were sources which outlined costs specifications these can be found back in the calculations tab. More detailed information about each of these values can be traced back to the notes page in which you can see from which report and page number these can be accessed to. Just use Ctrl+F in the notes tab using the name of your source of interest located in the calculations. The last column of each technology contains valuable comments in which you can find more elaboration.
6. Output ‘technology’
New output is compared to the old output. Data is retrieved from the results of the calculations tab. This new output is used in the input database for the ETM.
7. Supporting variables
Some of the calculations done are performed using supporting variables like hours_a_year , MW_to kW or value conversions (all data is recalculated to 2010 EURO). In this way it is easier to understand each of the recalculations done.