## Overview
Technology category |  | Gas
Version |  |  | 1.3 | Summary
Author |  | NR |  | The generating costs of Gas CCGT (also referred to as NGCC) have changed marginally. The main (and only) line of reasoning found on this is that costs have increased steadily over the last years due to the combination of increased in demand of these technologies and an increase of commodities (steel) and energy (see notes). For CCGT this has limited effect as this trend is offset by an increase of efficiency from 58% to 60,75%
Date | Version | Changes
2011-12-07 | 1 | First version
2012-01-04 | 1.1 | added ETM cost calculations
2012-01-13 | 1.2 | New table format
2012-02-21 | 1.3 | Added fuel and co2 calculations
|  |  |  | Total generation costs calculation outcomes: Gas CCGT |  | New ETM | Old ETM | %∆
Coding |  |  |  | Total electricity generation costs | EURO/MWh | 61.0719 | 60.3327 | 1.225%
Example | Value extracted from one of the reports referred to in notes |  |  | Total capital costs | EURO/MWh | 8.7755 | 6.2468 | 40.48%
Example | Calculation |  |  | Total depreciation costs | EURO/MWh | 5.4003 | 3.8442 | 40.48%
Example | (default) Value as set by the ETM on 23-11-2011 |  |  | Total operating costs | EURO/MWh | 3.0746 | 4.362 | -29.52%
|  |  |  | Fixed operating costs | EURO/MWh | 2.418 | 1.3008 | 85.89%
Introducing remarks |  |  |  | Variable operating costs | EURO/MWh | 0.65653 | 3.0612 | -78.55%
· In this file you can find the research done on the generating costs of gas. |  |  |  | Total CO2 costs | EURO/MWh | 0.41229 | 0.41229 | 0%
· This research will update the attributes of this technology (see output tab) which will be used for the ETM. |  |  |  | Total fuel costs | EURO/MWh | 43.4092 | 45.4674 | -4.527%
· Made fully available and transparent with the goal to stimulate the debate which will hopefully lead to a
continuous improvement of the ETM.
· This research has made possible with help of the consulted sources, the knowledge within Quintel Intelligence
and external validation
· The following excel tabs relay information in the following order:
Sources à Notes à Calculations à Output
· Supporting information is provided in the tabs: assumptions, supporting variables, reading guide
· For more information about the ETM and its cost calculations visit
http://wiki.quintel.com/index.php/Documentation

## Main assumptions
List of most important assumptions used
Important assumptions
All costs are in 2010 EURO excluding tax and subsidies
CO2 and fuel cost are assummed to be fixed and set to the value as set by the ETM.
In calculations when certain values were not found values as set by the ETM on 23-11-2011 were used as an assumption (these values are colored red).
Powerplant are constucted on undeveloped (e.g. greenfield) land.

## Sources
List of sources used for converter specifications
| Number | Source | Used in calculations? | Refman ID
| 1 | Broek_20100623_Modelling approaches to assess and design CO2 capture, transport and storage | Yes | 2010_UU_CS
| 2 | DECC_20110501_Costs of low-carbon generation technologies | No, UK figures ignificant different
| 3 | DECC_201108_Electricity Generation Cost Model 2011 update_revison 1 | No, UK figures ignificant different
| 4 | ECF_2011_Power Perspectives 2030 | No, scenario 2020 case
| 5 | ECN_2010_Kolencentrales Eemshaven - dwingende redenen openbaar belang | No, lack of data
| 6 | ECN_201003_Kernenergie en Brandstofmix | No, lack of data.
| 7 | EIA 201011_Updated capital costs estimates for electricity generation plants | No, US data.
| 8 | GCI_20110308_economic-assessment-carbon-capture-and-storage-technologies-2011-update | No, Australian figures
| 9 | Harvard_20100521_Roadmap 2050 - A practical guide to a prosperous, low-carbon Europe | Yes | 2010_HVD_EaGN
| 13 | http://www.enecogen.com/parties/Pages/Parties.aspx | Yes, contains constrcution costs. | Use weblink
| 10 | IEA and NEA_2010_Projected costs of generating electricity | Yes | 2010_IEA_EM.ec
| 11 | PB_200806_Cost estimates for thermal peaking plant | No, New Zealand case
| 12 | Siemens_20110801_Living Energy - Two world records | Yes, but only efficiency | 2011_SM_ET.Elt

## Notes
Source | Page | Notes | Calculations etc
DECC_20110501_Costs of low-carbon generation technologies
6_5
CCGT CCS
|  |  | 49% | % | Efficiency
|  |  | 30 | y | Plant life
| 25 | Fixed operating costs for CCGTs are low in comparison to most thermal generation technologies, given the low staffing required.
Broek_2010_Modelling approaches to assess and design CO2 capture, transport and storage | 236 |  |  |  | CCGT (NGCC here)
|  |  | 58% | % | Efficiency
|  |  | 676 | EURO/kW | Investment costs
|  |  | 19 | EURO/kW | Fixed O&M
|  |  | 0.02 | EURO/GJ | Variable O&M
|  |  | 30 | y | Lifetime
|  |  | 0.85 | % | Capacity factor
CCGT CCS (NGCC CCS here)
|  |  | 49% | % | Efficiency
|  |  | 1146 | EURO/kW | Investment costs
|  |  | 33 | EURO/kW | Fixed O&M
|  |  | 0.41 | EURO/GJ | Variable O&M
Lifetime
61
32
101
104
|  |  | 38 | EURO/MWh | fuel cost
129
A life time of 30 years is chosen for coal‐fired and gas‐fired power plants, 20 years for wind turbines, 20 years for PV, and 40 years for nuclear power plants in the normal vintage variants. In the EV variants we prolong the life times to 40 years for gas‐fired, 50 years for coal‐fired, and 60 years for nuclear power plants.
ECN_2010_Kolencentrales Eemshaven - dwingende redenen openbaar belang
42
CCGT
|  |  | 59% | % | Efficiency
IEA and NEA_2010_Projected costs of generating electricity | 55
CCGT
|  |  | 59% | % | Efficiency
| 48 |  | 1127 | USD/kW | Investment costs
|  |  | 870 | MW | capacity
|  |  | 1.32 | USD/MWh | O&M costs
|  |  | 59.56 | USD/MWh | fuel cost
|  |  | 10.27 | USD/MWh | carbon cost
61
|  |  | 85% | % | Capacity factor
Siemens - Two world records | 19 |  |  |  | CCGT
|  |  | 60.75% | % | Efficiency
DECC_201108_Electricity Generation Cost Model 2011 update_revison 1 |  |  |  |  | NOAK
| 18 |  |  |  | CCGT
|  |  | 59% | % | Efficiency
|  |  | 2 | yr | Construction period
|  |  | 30 | yr | Technical lifetime
|  |  | 23182 | £/MW/yr | O&M fixed fee
|  |  | 2727 | £/MW/yr | Insurance
|  |  | 0.1 | £/MWh | O&M variable fee
|  |  | Not reliable for UK | % | average load factor
|  |  | 16.5 | £/kWh | Infrastructure costs
|  |  | 640 | £/kWh | EPC costs
|  |  | 2.2% | % | Average degredation
|  |  | - | £/MWh | CO2 transport and storage costs
|  |  | 1 | % | Average load factor
|  |  | 850 | MW | Net power
FOAK
| 19 |  |  |  | CCGT CCS
|  |  | 48.3% | % | Efficiency
|  |  | 5 | yr | Construction period
|  |  | 30 | yr | Technical lifetime
|  |  | 39600 | £/MW/yr | O&M fixed fee
|  |  | 4400 | £/MW/yr | Insurance
|  |  | 0.6 | £/MWh | O&M variable fee
|  |  | Not reliable for UK | % | average load factor
|  |  | 25.9 | £/kWh | Infrastructure costs
|  |  | 1575 | £/kWh | EPC costs
|  |  | 2.2% | % | Average degredation
|  |  | 3.8 | £/MWh | CO2 transport and storage costs
GCI_08032011_economic-assessment-carbon-capture-and-storage-technologies-2011-update
CCGT
| 17 |  |  |  | average degredation
|  |  | 711 | USD/kW | Overnight costs
|  |  | 1.18 | USD/MWh | variable O&M
|  |  | 7823890 | USD | Fixed O&M
|  |  | 13726.1228 | USD/MW | Fixed O&M
|  |  | 570 | MW | Gross power
|  |  | 0.508 | % | Efficiency
CCGT CCS
average degredation
|  |  | 1447 | USD/kW | Overnight costs
|  |  | 2.3 | USD/MWh | variable O&M
|  |  | 11620570 | USD | Fixed O&M
|  |  | 22347.25 | USD/MW | Fixed O&M
|  |  |  | MW | Gross power
CEC
EIA 201011_Updated capital costs estimates for electricity generation plants |  |  |  |  | CCGT
| 5_3 |  |  |  | average degredation
|  |  | 1003 | USD/kW | Overnight costs
|  |  | 3.11 | USD/MWh | variable O&M
|  |  | 14.62 | USD/kW | fixed O&M
|  |  | 400 | MW | capacity
EPC
ECN_201003_Kernenergie en Brandstofmix |  | De prijzen van zowel hernieuwbare als conventionele energietechnologieën nemen sinds 2002
vooral toe.38 Dit geldt voor zowel conventionele kolen- en gascentrales, kerncentrales, als tevens
voor duurzame technologie zoals windenergie en zon-PV. Deze algehele kostenescalatie werd
veroorzaakt door een combinatie van toenemende vraag naar deze technologieën en toenemende
kosten voor grondstoffen (staalprijzen) en energie. Waar voor innovatieve en duurzame technologieën
eerder vaak leercurves werden verondersteld die - bij verdere toename van het opgesteld
vermogen - een kostendaling zouden moeten laten zien, blijkt dat concept in de afgelopen jaren
niet dominant te zijn geweest in de kostenontwikkeling. De OECD (OECD, 2010) stelt dat in de
periode 2004-2008 een kostenstijging van minimaal 50% is waargenomen. Een studie van Jacobs
(Jacobs, 2008) bevestigt die ontwikkeling.
ECF_2011_Power Perspectives 2030 | 48 | Conventional thermal technologies Conventional thermal resources will continue to play a role in ensuring affordable and reliable electricity as the system decarbonizes. It is broadly assumed that competitive wholesale markets should continue to be the primary driver of new investment in this segment as well as underpin the commercial viability of those existing assets that continue to be of value to the market. Yet there are valid reasons to examine these assumptions more critically, as discussed below.
The growing share of low-marginal-cost variable resources in the supply mix will transform the operating environment for thermal resources. These resources may experience lower annual utilization rates, or the pattern of utilization within the year may become more variable and less predictable. Some stakeholders have postulated that the very fact of a much higher share of very low marginal cost resources will drive average energy prices below the levels required to recoup investment, while increased shares of variable production will bring excessive price volatility. The combined impact of these concerns – low operating hours, chronically low prices, high price volatility – were they to materialise, could have the potential to undermine the ability of the current wholesale market framework to attract sufficient investment at an acceptable cost. Our analysis did not provide support for this conclusion, however it did identify increased investor risk in some dimensions.
75
Harvard_20100521_Roadmap 2050 - A practical guide to a prosperous, low-carbon Europe
| 2 |  |  |  | CCGT
|  |  | 750000 | EURO / MW | Capex
|  |  | 15000 | EURO / MW | OPEX fix
|  |  | 1 | EURO / MWh | OPEX variable
|  |  | 5 | year | Construction time
|  |  | 30 | year | Lifetime
|  |  | 0.07 | % | WACC
30
31
32
| 33 | Basic assumptions: WACC (real, after tax): 7%
http://www.enecogen.com/parties/Pages/Parties.aspx |  | Siemens
|  | Siemens Energy is responsible for the turnkey construction of the Enecogen combined cycle power project in the Rotterdam harbor in the Netherlands. The project with an installed capacity of approximately 870 megawatts (MW) is scheduled to go on line in late 2011. The order volume, including a long-term maintenance agreement, is just under EUR 700 million. | 804597.7011 | euro / MW | Investment costs
Note on E61: Nick Rothengatter: includes IDC
Note on E73: Nick Rothengatter: includes IDC
Note on E446: Nick Rothengatter: Based on real data from three example European CCGT projects. High and low figures are indicative of the range of prices from the example projects.
Note on E447: Nick Rothengatter: Based on example projects collected from different internal sources within PB. Medium figure calculated as an average of relevant projects.
Note on E448: Nick Rothengatter: Based on real data from three example European CCGT projects. High and low figures are indicative of the range of prices from the example projects. Cost mainly incurred from water treatment costs.
Note on E486: Nick Rothengatter: Construction period for FOAK plants is based on typical value for demonstration plants, which is 5 years. Typically slightly longer than coal + CCS because it will involve the construction of bigger vessels.
Note on E487: Nick Rothengatter: Operational periods similar to that of just CCGT plant, but with slight reductions due to the operation of the CCS technology. CCS technology is not as established and experience as CCGT and other technologies, therefore it is expected that the operational life will be shorter.
Note on E488: Nick Rothengatter: Price made up of CCGT fixed O&M cost, with an additional allowance for the CCS technology. An additional £7500/MW is assumed for the fixed O&M of the CCS technology. FOAK prices assumed to be 20% higher than NOAK
Note on E490: Nick Rothengatter: Price made up of CCGT variable price (i.e. example projects) with additional £0.4MWh, which is approximately one-third of variable costs for coal + CCS. Based on the assumption that a coal station (with approximately double the capacity) will require three times the CCS capacity. FOAK prices assumed to be 20% higher than NOAK

## Calculations
Checks and balances and other calculations
Gas CCGT
Sources
|  |  | Data | New ETM | Old ETM | %∆ | %SD | Siemens | IEA_NEA | Broek | Harvard | Enecogen | Comments
Units/Region
Technical specifications
Capacity/yield
|  | Production capacity Gross | MWe | 800 | 800 |  |  |  | 870 | 800 | 801 |  | Assumed to be 800 MW, as standard in the ETM
|  | Average effective output of nomimal capacity over lifetime | % | 98% | 98% |  |  |  | 98% | 98% | 198% |  | Assumed to be 98%, as standard in the ETM
|  | Production capacity Effective | MWe | 784 | 784 |  |  |  | 852.6 | 784 | 1585.98 |  | Assumed to be 784 MW, as standard in the ETM
|  | Net Electrical yield / efficiency | % | 60% | 58% | 3.448% |  | 60.75% | 59% | 58% | 58% |  | See comment in this cell for more elaborate argumentation.
|  | Capacity factor/ Load factor | % | 53.5% | 53.5% |  |  |  | 85% | 85% | 53.5% |  | Calculation from equivalent full load hours
|  | Equivalent full load hours | hours | 4687 | 4687 |  |  |  | 7446 | 7446 | 4687 |  | See comment in this cell for more elaborate argumentation.
|  | Average energy production | GWh/y | 3674.608 | 3674.608 |  |  |  | 6348.4596 | 5837.664 | 7433.4883 |  | Calculation from equivalent full load hours and effective capacity.
Other
|  | Construction time | years | 2.5 | 2.5 |  |  |  | 2.5 | 2.5 | 5 |  | Assumed to be 2,5 ,as standard in the ETM
|  | Weighted average cost of capital (WACC) | % | 10% | 10% |  |  |  | 10% | 10% | 7% |  | Assumed to be 10%, as standard WACC in ETM for big power plants
|  | Technical lifetime | years | 30 | 30 |  |  |  | 30 | 30 | 30 |  | Assumed to be 30 ,as standard in the ETM
|  | Residual value | EURO/MW | 0 | 0 |  |  |  | 0 | 0 | 0 |  | See comment in this cell for more elaborate argumentation.
Finacial specifications
Investment costs
|  | Initial investment costs | EURO/MWe | 759340.1628 | 540531.25 | 40.48% | 8.093% |  | 806762.95 | 676000 | 750000 | 804597.7011 | See comment in this cell for more elaborate argumentation.
|  | Construction cost | EURO/Mwe | [5 empty] | 806762.95 | 676000
|  | IDC | EURO/Mwe
|  | Overnight cost | EURO/Mwe
|  | Contingency costs | EURO/MWe
|  | Bare plant cost (EPC) | EURO/MWe
|  | Owner's costs | EURO/MWe
|  | Decommissioning costs | EURO/MWh | 0 | 0 |  |  |  | 0 | 0 |  |  | See comment in this cell for more elaborate argumentation.
Operating costs
|  | Fixed operating and maintenance costs | EURO/MWe/year | 11333.3333 | 6096.9551 | 85.89% | 16.64% |  | 0 | 19000 | 15000 |  | See comment in this cell for more elaborate argumentation.
|  | Personnel costs | EURO/MWe/year
|  | Insurance costs | EURO/MWe/year
|  | Connection costs | EURO/MWe/year
|  | Other | EURO/MWe/year
|  | Variable operating and maintenance costs | EURO/MWh | 0.65653 | 3.0612 | -78.55% | 77.5% |  | 0.8976 | 0.072 | 1 |  | See comment in this cell for more elaborate argumentation.
|  | Consumables | EURO/MWh
|  | Raw fuel | EURO/MWh
|  | Other | EURO/MWh
Total generation costs calculation outcomes
|  | Total electricity generation costs | EURO/MWh | 61.6146 | 60.3327 | 2.125% | 57.25% |  | 56.2578 | 56.4473 | 61.948
|  | Total capital costs | EURO/MWh | 8.7755 | 6.2468 | 40.48% | 75.87% |  | 5.8689 | 4.9176 | 6.534
|  | Total depreciation costs | EURO/MWh | 5.4003 | 3.8442 | 40.48% | 75.49% |  | 3.6116 | 3.0262 | 5.3339
|  | Total operating costs | EURO/MWh | 3.0746 | 4.362 | -29.52% | 70.95% |  | 0.8976 | 2.6237 | 4.2003
|  | Fixed operating costs | EURO/MWh | 2.418 | 1.3008 | 85.89% | 66.87% |  | 0 | 2.5517 | 3.2003
|  | Variable operating costs | EURO/MWh | 0.65653 | 3.0612 | -78.55% | 115.5% |  | 0.8976 | 0.072 | 1
|  | Total CO2 cosrs | EURO/MWh | 0.41229 | 0.41229 | 0% | 0% |  | 0.41229 | 0.41229 | 0.41229 |  | See comment in this cell for more elaborate argumentation.
|  | Total fuel costs | EURO/MWh | 43.9518 | 45.4674 | -3.333% | 0% |  | 45.4674 | 45.4674 | 45.4674 |  | See comment in this cell for more elaborate argumentation.
Note on N11: Nick Rothengatter: The Irshing power plant is the most efficient CCGT power plant in the world. Figure is rounded down to 60% is Irsching result is performed under ideal conditiions aiming to break the world record.
Note on N13: Nick Rothengatter: The full load hours remain unchanged as the full load hours reported are too general to be of significant value. The load factor of fossil fuel plants such like a gas plant is often country specific.
Note on N19: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of the power plant, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on N22: Nick Rothengatter: Calculated average. Not possible now to draw conclusions, Deviation between the sources should be less but number is agreed upon by an expert from E.ON
Note on C23: Nick Rothengatter: Is "all-in" or installed cost.s, which sums overnight construction costs and interst during construction (IDC).
Note on C24: Nick Rothengatter: IDC stands for interest during construction. The ETM doesn't use IDC but calculated the costs of capital. The cost of capital is the amount of money that is spent yearly to finance the required investment for the device. It assumes that the capital required either costs money to finance, or could have been used to generate money elsewhere. This is a percentage of the average investment over the lifetime of a device, which is called the WACC, the weighted average cost of capital. The WACC is very country specific. In the ETM the WACC is set to 6% for domestic appliances and to 10% for industrial and larger applications.
Note on C25: Nick Rothengatter: Analysts often refer to the construction costs as to “overnight cost” or undiscounted capital outlays. This is the cost that will be realized if the power plant could be built instantaneously or during one night. It does not incorporate financing charges and inflation during the construction time (IDC).
Note on C26: Nick Rothengatter: cost increases resulting from unforeseen technical or regulatory difficulties
Note on C27: Nick Rothengatter: EPC stands for Engineering, Procedurement and Construction. This is also known as the "Bare plant costs".
Note on C28: Nick Rothengatter: Owner's costs are the costs that are related to develop and start up the plant (e.g. land, cooling infrastructure, administration and associated buildings, site works, switchyards, project management, licences, etc.)
Note on N29: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of the power plant, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on J31: Nick: This report only specificies variable operating costs and no fixed operating costs.
Note on N31: Nick Rothengatter: Calculated average. Deviation between the sources is big, therefore an expert from EO.N is consulted. The expert indicated that the number is at the high end and could come down in the future. Nevertheless the cost for the increasing flexible use gas plants due to increasing penetration of volatile energy soucres like wind and solar drive O&M costs up. It is therefore ok to set O&M costs at this number for now.
Note on N36: Nick Rothengatter: Calculated average. Not possible now to draw conclusions, deviation between the sources is too big, therefore an expert from EO.N is consulted. The expert indicated that the number is at the high end and could come down in the future. Nevertheless the cost for the increasing flexible use of these plants drive O&M costs up. It is therefore ok to set O&M costs at this number for now.
Note on N47: Nick Rothengatter: For more information on how the ETM calculates CO2 costs a supplementary file can be given. If interested contact alexander.wirtz@quintel.com
Note on N48: Nick Rothengatter: For more information on how the ETM calculates fuel costs a supplementary file can be given. If interested contact alexander.wirtz@quintel.com

## Output gas
Gas
|  |  | Gas CCGT | New
| all costs excl tax and subsidies | sector | energy
Technical
| Nominal electrical capacity | MW | 800 | 800
| Average effective output of nomimal capacity over lifetime | % | 0.98 | 0.98
| full load hours | hours/ year | 4687 | 4687
| electrical efficiency | % | 0.58 | 0.6
| heat efficiency | % | 0 | 0
Cost
| Initial investment (excl CCS) | euro/MWe | 540531.25 | 759340.1628
| Inititial investment per unit for CCS | euro/MWe | 0 | 0
| Cost of installing | euro/MWe | 0 | 0
| Residual value after lifetime | euro/MWe | 0 | 0
| Decommissioning costs | euro/MWe | 0 | 0
| fixed operation and maintenance costs | euro/MWe/year | 6096.9551 | 11333.3333
| variable operation and maintenance costs (excl CCS) | euro/ full_load_hour | 2400 | 514.7221
| additional operation and maintenance costs for CCS (per full load hour) | euro/ full_load_hour | 0 | 0
| Weighted average cost of capital | % | 0.1 | 0.1
| Do emissions have to be paid for through the ETS? | yes=1/no=0 | 1 | 1
Other
| Land use per unit | km2 | 0.11 | 0.11
| Construction time | years | 2.5 | 2.5
| Technical lifetime | years | 30 | 30

## Supporting variables
Name | Value | Remarks
Exchange_rate_iea_2010 | 0.71585 | All costs were in 2008 USD
Exchange rate CEC_2009 | 0.695 | USD to EUR on 4 jan 2010
Exchange rate OECD_IEA_2010 | 0.74074
Exchange rate IEA_NEA_2010 | 0.68
Exchange rate DECC_2010 | 1.1
kw to MW | 0.001
Full capacity | 100%
# hours in a year | 8760
CCGT_capacity | 800
CCGT_CCS_capacity | 665
full_load_hours_CCGT | 4818
GJ_to_MWh | 0.27778
MW to GW | 0.001
GJ_to_MW | 1000

## Reading guide
Reading guide
The excel file is set up to provide you an insight into the research done on the electricity generation costs that supports parts of the ETM input database. The excel file is built up by the following tabs:
1. Overview
The overview tab. Here you can find introducing remarks and coding explanation. Next to this the tab gives the outcomes and the changes of the total generation costs.
2. Assumptions
This tab gives you a list of the most important assumptions. More general assumptions about the ETM can be found on the wiki, her you can also find more information about the cost calculations: http://wiki.quintel.com/index.php/Documentation#Modeling_logic
3. Sources
Here you can find an alphabetically-sorted list of all the sources consulted. Sources can be used for multiple reasons (e.g. for lines of argumentation, definitions, costs data). Some of the consulted sources are used in the calculations tab, but most aren’t. A short reason why some sources are included but others aren’t can be found in the column next to the name of the source. The sources can be retrieved using the refmanager of the ETM: http://refman.et-model.com/
4. Notes
Each of the consulted sources contained information. What was judged as valuable information is noted here. As described above the information varies from definitions and general opinions or trends to more specific costs specifications.
5. Calculations
The so-called “heart” of the analysis. Whenever there were sources which outlined costs specifications these can be found back in the calculations tab. More detailed information about each of these values can be traced back to the notes page in which you can see from which report and page number these can be accessed to. Just use Ctrl+F in the notes tab using the name of your source of interest located in the calculations. The last column of each technology contains valuable comments in which you can find more elaboration.
6. Output ‘technology’
New output is compared to the old output. Data is retrieved from the results of the calculations tab. This new output is used in the input database for the ETM.
7. Supporting variables
Some of the calculations done are performed using supporting variables like hours_a_year , MW_to kW or value conversions (all data is recalculated to 2010 EURO). In this way it is easier to understand each of the recalculations done.
8. Fuel and CO2 prices
Who those who want to know more about how fuel and CO2 prices are calculated in the ETM this is the place to check it out.