## Overview
Overview
Summary
| Technology category |  | Wind | The generating costs of wind inland and wind coastal have fallen as the result of higher full load hours and an increase of the technical lifetime. Although the full load hours and technical lifetime off wind offshore also have increased this could not prevent the fact that the generating costs of offshore wind have risen. This is the result of higher investment and operating costs which offset the cost reducing effect of higher full load hours and lifetime.
| Version |  | 1.2
| Author |  | NR
| Date | Version | Changes
| 2011-12-16 | 1 | first version
| 2011-12-21 | 1.1 | added ETM cost of production methods | Certainties | Uncertainties
| 2012-01-13 | 1.2 | new table format | · Investment costs | · Full load hours (comment)
· Operating costs
| Coding |  |  | · Technical lifetime
| Example | Value extracted from one of the reports referred to in notes |  | · Construction time
| Example | Calculation
| Example | (default) Value as set by the ETM on 23-11-2011 |  | Total generation costs calculation outcomes: Wind inland |  |  | New ETM | Old ETM | %∆
|  |  |  | Total electricity generation costs |  | EURO/MWh | 70.9025 | 92.194 | -23.09%
| Introducing remarks |  |  | Total capital costs |  | EURO/MWh | 28.9533 | 34.9985 | -17.27%
| · In this file you can find the research done on the generating costs of wind energy. |  |  | Total depreciation costs |  | EURO/MWh | 22.2718 | 33.3319 | -33.18%
| · This research will update the attributes of this technology (see output tab) which will be used for the ETM. |  |  | Total operating costs |  | EURO/MWh | 19.6773 | 23.8636 | -17.54%
| · Made fully available and transparent with the goal to stimulate the debate which will hopefully lead to a |  |  | Fixed operating costs |  | EURO/MWh | 19.6773 | 23.8636 | -17.54%
| continuous improvement of the ETM. |  |  | Variable operating costs |  | EURO/MWh | 0 | 0 | 0%
| · This research has made possible with help of the consulted sources, the knowledge within Quintel Intelligence |  |  | Total CO2 costs |  | EURO/MWh | 0 | 0 | 0%
| and external validation |  |  | Total fuel costs |  | EURO/MWh | 0 | 0 | 0%
· The following excel tabs relay information in the following order:
| Sources à Notes à Calculations à Output |  |  | Total generation costs calculation outcomes: Wind coastal |  |  | New ETM | Old ETM | %∆
| · Supporting information is provided in the tabs: assumptions, supporting variables, reading guide |  |  | Total electricity generation costs |  | EURO/MWh | 59.0854 | 85.5458 | -30.93%
| · For more information about the ETM and its cost calculations visit |  |  | Total capital costs |  | EURO/MWh | 24.1278 | 31.4454 | -23.27%
| http://wiki.quintel.com/index.php/Documentation |  |  | Total depreciation costs |  | EURO/MWh | 18.5598 | 33.1004 | -43.93%
| · In the literature there are two prevailing categories for wind energy: (1) Wind onshore; (2) Wind offshore. |  |  | Total operating costs |  | EURO/MWh | 16.3978 | 21 | -21.92%
| The ETM chooses to subdivide category 1 (only with respect to full load hours) into two subcategories |  |  | Fixed operating costs |  | EURO/MWh | 16.3978 | 21 | -21.92%
| (1a) Wind inland ; (1b) Wind coastal. Why? The full load hours for wind turbines that are placed in coastal zones are |  |  | Variable operating costs |  | EURO/MWh | 0 | 0 | 0%
| significantly higher than for turbines placed more inland, thereby affecting the costs. This leads to big costs |  |  | Total CO2 costs |  | EURO/MWh | 0 | 0 | 0%
| differences between wind inland and wind coastal. |  |  | Total fuel costs |  | EURO/MWh | 0 | 0 | 0%
|  |  |  | Total generation costs calculation outcomes: Wind offshore |  |  | New ETM | Old ETM | %∆
|  |  |  | Total electricity generation costs |  | EURO/MWh | 156.5272 | 124.1717 | 26.06%
|  |  |  | Total capital costs |  | EURO/MWh | 59.9312 | 41.6667 | 43.84%
|  |  |  | Total depreciation costs |  | EURO/MWh | 55.75 | 50.5051 | 10.38%
|  |  |  | Total operating costs |  | EURO/MWh | 40.846 | 32 | 27.64%
|  |  |  | Fixed operating costs |  | EURO/MWh | 40.846 | 32 | 27.64%
|  |  |  | Variable operating costs |  | EURO/MWh | 0 | 0 | 0%
|  |  |  | Total CO2 costs |  | EURO/MWh | 0 | 0 | 0%
|  |  |  | Total fuel costs |  | EURO/MWh | 0 | 0 | 0%
Note on R11: Nick Rothengatter: There remains some uncertainties about the full load hours of wind inland and wind coastal. As wind speeds are related to its location it is valuable to have these two categories but it appeares to be difficult to actually differentiate the categories with respect to the full load hours as reports do not distinguish between the two. Although there is empirical production data available, none offer clear distinction between and inland location.

## Assumptions
List of most important assumptions used
Important assumptions
General
In the literature there are two prevailing categories for wind energy: (1) Wind onshore; (2) Wind offshore. The ETM chooses to subdivide category 1 (only with respect to full load hours) into two subcategories (1a) Wind inland ; (1b) Wind coastal. Why? The full load hours for wind turbines that are placed in coastal zones are significantly higher than for turbines placed more inland, thereby affecting the costs. This leads to big costs differences between wind inland and wind coastal.
Both fixed as variable operational maintenance costs are put under fixed operational costs (see output tab). The main reason is that operators treat variable O&M as fixed O&M as wind turbines are maintained on a fixed bases.
All costs are in 2010 EURO excl tax and subsidies
In calculations when certain values were not found values as set by the ETM on 23-11-2011 were used as an assumption (these values are colored red).
More general assumptions about the ETM can be found on the wiki, here you can also find more information about the cost calculations: http://wiki.quintel.com/index.php/Documentation#Modeling_logic
Offshore
Till 2015 new built project will remain at the 3 MW power rate
Till 2015 new built project will keep using monopile foundation structures
Till 2015 hub hight will remain around 65 - 90m
Till 2015 rotor diameter 90 - 120m
To date, offshore wind parks (OWP) have been mainly constructed near (i.e. less than 60 kilomters) to the shore and at low depths (up to 30 meters). Countries such as the UK, Belgium and the netherlands still own many sites that offer these favourable geographical conditions and will be able to continiue to deloy OWPs in these locations in the medium term
Inland
Both fixed as variable operational maintenance costs are put under fixed operational costs (see output wind). The main reason is that operators treat variable O&M as fixed O&M as wind turbines are maintained on a fixed bases. Another reason for this is that this was done in a previous ETM cost analysis as well. When a fixed O&M part is missing, 25EURO/MW is used.
Coastal
All specifications of wind coastal are equal to the specifications of wind inland, with the exeption of the full load hours.
Note on C21: Nick Rothengatter: based on actual offshore wind parks and consented offshore wind parks specifications (notes: Quintel Intelligence, 2012)
Note on C22: Nick Rothengatter: To date, foundations have typically been cylindrical, steel monopiles but these structures become uneconomical once larger turbines are used in deeper water. Source: Renewable UK_201106 p.12 see notes for more information
Note on C23: Nick Rothengatter: based on actual offshore wind parks and consented offshore wind parks specifications (notes: Quintel Intelligence, 2012)
Note on C24: Nick Rothengatter: based on actual offshore wind parks and consented offshore wind parks specifications (notes: Quintel Intelligence, 2012)
Note on C25: Nick Rothengatter: assumption from KPMG and consented offshore wind partks in the Netherlands (notes: Quintel Intelligence, 2012)
Note on C30: Nick Rothengatter: Onder vaste kosten worden verstaan de kosten voor grond, de onroerendzaakbelasting, en de jaarlijkse kosten voor het in standhouden van de aansluiting. ECN/KEMA (2008) schat deze kosten op een gemiddelde van 25 EURO/kW Source: ECN/KEMA

## Sources
Sources
Reports used in this analysis can be retrieved using the refmanager of the ETM: http://refman.et-model.com/
| Number | Name | Used in calculations? | Refman ID
| 1 | ARUP_201106_Review of the generation costs and deployment potential of renewable electricity technologies in the UK | No, UK figures |  | Technology | Sources used before
| 2 | Belwind.eu | No detailed info. |  | Wind_Onshore | ECN_2007_Parameters kosten duurzame opwek 2008-2009 (concept).pdf
| 3 | Bloomberg and Rabobank_20111129_Offshore Wind - Foundations for growth | No, only usable projection data |  |  | ECN_2008_kengetallen kosten duurzame opwek 2008-2009_definitief.pdf
| 4 | BNEF_10112011_Onshore wind energy to reach parity with fossil-fuel electricity by 2016 | No, no detailed info. But gives indication. |  |  | Ecorys_20090227_Contra-expertise op SDE advies wind op land.pdf
| 5 | CREG_20111027_de analyse van de kosten en onrendable topberekening voor offshore wind in Belgie | Yes | 2011_CREG_EM |  | Weblinks wind energy.doc
| 6 | DECC_2010601_UK Electricity Generation costs update | No, UK data |  |  | NWEA_2008_kritiek op SDE wind op land.doc
| 7 | DECC_201109_Costs of low-carbon generation technologies | No, UK figures |  |  | EPZ_200510_Factsheet Kernenergie in perspectief.pdf
| 8 | ECN and KEMA_201001_SDE Wind op land met vollasturen | Yes | 2010_ECN_KEMA_EM.Ec |  | NEA_IEA_2000503_Projected Costs of Generating Electricity 2005 update.pdf
| 9 | ECN_ and KEMA_201109_Eindadvies basisbedragen voor SDE 2012 | Yes | 2011_ECN_KEMA_EM
| 10 | ECN_20100501_Technical and economic features of renewable electricity technologies | No, average EU figures |  | Wind_coastal | ECN_2007_Parameters kosten duurzame opwek 2008-2009 (concept).pdf
| 11 | ECN_201107_Properties of the O&M cost estimator | No, but usable explantion about O&M |  |  | ECN_2008_kengetallen kosten duurzame opwek 2008-2009_definitief.pdf
| 12 | ECN_20111201_Optimisation of maintenance strategies for offshore wind farms | No, but usable explantion about O&M |  |  | ECN_2008_kengetallen kosten duurzame energie 2009-2010.pdf
| 13 | ECN_and KEMA_201107_Conceptadvies basisbedragen voor SDE 2012 | Yes | 2011_ECN_KEMA_EM.Ec |  | ECN KEMA_200505_Renovatie windturbines - Berek. onrend. top.pdf
| 14 | Ecorys_20090227_Contra-expertise op SDE advies wind op land | No, but valuable contra-expertise
| 15 | Ernst and Young_20090427_Cost of and financial support for offshore wind | No, too old but nice info |  |  | Weblinks wind energy.doc
| 16 | EWEA OFFSHORE 2011_20111129_ pre-event semainar - 2.2 Athanasia Arapogianni - Turbines + Substructures | No, but reliable information for arguments. |  |  | NWEA_2008_kritiek op SDE wind op land.doc
| 17 | EWEA_20111129_OFFSHORE 2011 pre-event semainar - 2.2 Erik ter Horst - Ports and Vessels | No, but reliable information for arguments. |  |  | EPZ_200510_Factsheet Kernenergie in perspectief.pdf
| 18 | FD_201109_Offshore 2011 - Nederland biedt legio kansen voor wind op zee | No, but indicate drivers costs |  |  | NEA_IEA_2000503_Projected Costs of Generating Electricity 2005 update.pdf
| 19 | Great UKERC_201009_Expectations - The cost of offshore wind in UK waters | No, old UK figures
| 20 | http://www.energeia.nl/news.php?ID=44791 | No, but useable info drivers cost
| 21 | http://www.lorc.dk/lorc/kc_ossearchlistpage142.aspx?os_cyf=2005&os_cyt=2011 | Yes, windpark data | Use weblink
| 22 | IEA_201103_Multi-national Case Study of the Financial cost of wind energy | No,useful information but older or no new data.
| 23 | ING_20110914_Hernieuwbare energie in Nederland tot 2020 - Investeringskansen voor de energietransitie | Yes | 2011_ING_EB.Elb.Els | Wind_Offshore | ECN_2007_Parameters kosten duurzame opwek 2008-2009 (concept).pdf
| 24 | KPMG_201104_Offshore wind in Europe - 2010 market report | Yes | 2011_KPMG_EB.Elb.Els |  | ECN_2008_kengetallen kosten duurzame opwek 2008-2009_definitief.pdf
| 25 | NUON Shell_201011_Operations report 2009 | Yes, production data | 2010_NUON_SHELL_EB.Elb.Els |  | DEA_200503_Technologie data energy plants (Denmark).pdf
| 26 | NWEA_2011_Sectoronderzoek Offshore Windenergie 2011 | No usable information |  |  | CE_2005_welke nieuwe E-centrale.pdf
| 27 | Offshore Valuation group_2010_The offshore valuation | No, UK scenario data |  |  | EPZ_200510_Factsheet Kernenergie in perspectief.pdf
| 28 | PwC_20110512_Offshore proof - turning windpower promise into performance | No, but very valuable interview results |  |  | Weblinks wind energy.doc
| 29 | Roland Berger_20111201_Pushing forward - The future of offshore wind energy | No, popular future focus
| 30 | Senternovum_200908_Participatie_in_windenergieprojecten | Yes | 2009_SN_EM.Ec |  | Rathenau_20050225_Factsheet kernenergie economische aspecten.pdf
| 31 | Van der Zwaan, B. et al_20110522_Evolving Economics of Offshore Wind Power - Cost reductions from scaling and learning | Yes, give drivers | 2010_ECN_EM.Ec |  | Greenpeace PWC_2008_Financial and economic comparison NL (Coal Gas Wind).pdf
| 32 | VNG_20110101_Taxatiewijzer en kengetallen deel 12 - windturbines | No, only useful 2010 production data. Therefore not representative. |  |  | ECN_2007_Parameters kosten duurzame opwek 2008-2009 (concept).pdf
| 33 | Quintel Intelligence_20111216_offshore wind parks | No, lack cost data. |  |  | ECN_2004_Onrendabele toppen duurzame elektriciteitsopties.pdf
| 34 | ECN_20121230_Basisbedrag wind op land voor windrijke locaties | No, but very valuable discussion about new full load hours wind inland. |  |  | EIA_DOE_2008_Electricity Market Module.pdf

## Notes
Source | Page | Notes | Calculations etc
BNEF_20111110_Onshore wind energy to reach parity with fossil-fuel electricity by 2016 | 1 | The operations and maintenance cost of wind farms has also decreased in real terms, on average over
the lifetime of the project from EUR 50/MWh in the 1980s to EUR 11/MWh today, as operators have
|  | become more experienced and the quality of turbines has improved. | 11 | EURO/MWh | O&M
Onshore
ECN_20100501_Technical and economic features of renewable electricity technologies | 13 | In the USA, the investment cost was $1,915/kW (≈ € 1,300/kW) in 2008 (NREL, 2009). In Europe, | 1350 | EURO/kW | Investment cost
|  | Lensink et al (2009) put the cost at € 1,350/kW (€2010) in 2010 | 25 | y | Technical lifetime
|  |  | 25% | % | Capacity factor
|  |  | 11.85 | EURO/MWh | O&M variable
|  |  | 0.66667 | year | Construction time
O&M fixed
| 18 | Several factors among which lack of competition between wind turbine manufacturers (Isles, 18 ECN-E--10-034 2006), risk aversion by manufacturers that were able to choose between supply of on- and offshore wind turbines, and fast increasing prices of steel and copper caused price increases of approximately 50%. After a period of rising prices, it is highly probable that prices of offshore wind farms will come down again. Junginger et al. (2008) argue that a number of factors cause long-term cost reduction: • Increasing capacity of wind turbines, from 500 kW in the early 1990s to 2 MW in 2000, and 5 MW and more today (economies of scale of offshore wind turbines). • Increasing numbers of turbines and correspondingly increasing capacity of wind farms, which may be up to 400 MW around 2010 (economies of scale by series production). • Fewer platforms/foundations needed as wind turbine capacities increase: for example, Thornton Bank (Belgium) will save 60 turbines of 5 MW each, compared to 100 turbines of 3 MW for Thanet (UK). However, the anvil, the connecting piece between piling hammer and pile, reaches its limit at a diameter of six metres. The pile diameter for a 5-MW machine in water 30 metres deep would surpass that limit (Mathis, 2006; Internet Source 23). • Economies of scale with regard to lifting equipment, reported by Söger et al. (2006). • Reduced cost of cables, transformers, and grid connection (Junginger, 2005), which may be a function of the size of the wind farm. It is acknowledged that High Voltage Direct Current (HVDC) appears to be optimal for large, relatively far offshore wind farms (400-1,000 MW). • Significant learning by doing occurring during turbine installation, e.g., the time to install an offshore wind turbine was reduced from over 48 to less than 8 eight hours (Junginger, 2005). • Dedicated offshore turbines, which may reduce Operation and Maintenance (O&M) costs.
17
Offshore
|  |  | 3200 | EURO/kW | Investment cost
|  |  | 25 | y | Technical lifetime
|  |  | 40% | % | Capacity factor
|  |  | 30.6 | EURO/MWh | O&M
|  |  | 115.2 | EURO/MW | Fixed and variable O&M
ECN_and KEMA_201109_eindadvies basisbedragen voor SDE 2012 | 45 | De referentie-installatie voor wind op zee is gekozen als een 300 MW windpark buiten de 12-mijlszone. Hiermee correspondeert de referentie-installatie in grote mate met de parken die ver-gunningen hebben ontvangen. De kostenindicatie is gebaseerd op de kostenramingen die voor-afgaand aan de 950 MW-tender zijn gemaakt (Lensink et al., 2009). De kosten van wind op zee zullen op termijn dalen, maar deze daling zal naar verwachting niet voor 2015 significant inzetten (Greenacre et al., 2010). Daarmee blijven de productiekosten naar verwachting boven de 15 €ct/kWh liggen, zie Tabel 6.38.
Offshore
|  |  | 4000 | EURO/kW | Investment costs
|  |  | 4000 | h | Full load hours
|  |  | 150 | EURO/kW/year | Operation and maintenance
Hoewel het corresponderende basisbedragen nu boven de 15 €ct/kWh uitkomt, adviseren ECN en KEMA ook in komende jaren het prijsniveau van wind op zee te monitoren. Verschillende parken zijn in binnen- en buitenland in ontwikkeling en door de sterk toenemende ervaring in de wind-op-zeesector kunnen de kosten voor 2020 significant dalen.
7
| 35 | Wind in meer
Informatie over de productiekosten van windprojecten in meer is schaars, net als het aantal tur-bines dat aangeboden wordt voor zulke projecten. Daardoor bevat de differentiatieformule voor wind in meer meer inherente onzekerheid, waardoor in toekomstige jaren grotere verschuivin-gen in de differentiatieformule voor wind in meer te verwachten zijn dan die voor wind op land. Ten aanzien van de O&M-kosten is gerekend met 15,3 €/kW per jaar en 2,23 €ct/kWh, inclusief een afdracht voor plaatsing in het water van 0,53 €ct/kWh.
| 35 | Wind op land
Om tot het basisbedrag voor windenergie op land te komen, zijn verschillende windturbines met bijbehorende investeringen gebruikt. Hiervoor is van meerdere turbineleveranciers informatie ontvangen, die door ECN en KEMA zijn aangevuld met andere uit de markt ontvangen gegevens. Voor het berekenen van de differentiatieformule is uitgegaan van turbinespecifieke kos-ten. Bovenop de turbineprijs zijn bijkomende kosten geraamd van 27% voor fundatie (inclusief heipalen), elektrische infrastructuur in het park, netaansluiting, civiele infrastructuur, grondver-wervingskosten, bouwrente en CAR-verzekering tijdens de bouw. Op verzoek van marktpartijen hebben ECN en KEMA een herijking uitgevoerd, of een vast percentage van 27% voor alle tur-bines wel een adequate raming is. Deze herijking heeft niet geleid tot aanpassing van de berekening.
Onshore wind
|  |  | 1350 | EURO/kW | Investment costs
|  | De variabele kosten bestaan uit garantie- en onderhoudscontracten en worden geraamd op ongeveer 1 €ct/kWh, waar bovenop inflatie van 2%/jaar wordt gerekend. In tegenstelling tot het conceptadvies zijn deze kosten turbinespecifiek doorgerekend. De vaste jaarlijkse kosten zijn 15,336 €/kW voor kosten als WA-verzekering, machinebreukverzekering, stilstandverzekering, netin-standhoudingskosten, eigenverbruik, OZB, opstalvergoeding, beheer en land- en wegenonderhoud. Voor de grondkosten is een bedrag gehanteerd van 0,53 €ct/kWh. | 2200 | h | Full load hours
|  |  | 25.8 | EURO/kW/year | Fixed Operation and maintenance
|  |  | 0.011 | EURO/kWh | Variable Operation and maintenance
Niet alle turbines lenen zich voor alle locaties in Nederland. Turbines met IEC-klasse III wor-den niet geplaatst bij hoge windsnelheden vanwege te hoge belasting. Windturbines met een gemiddelde windsnelheid tot 7,5 m/s kunnen volstaan met een klasse III, tot 8,5 m/s met klasse II. Voor locaties met hogere gemiddelde windsnelheden zal turbineklasse I gebruikt worden. Daarom is de opbrengst van een windturbine berekend met een maximaal haalbare windsnelheid per turbineklasse. Turbines met een hogere IEC-klasse vragen een grotere investering. In wind-arme gebieden kan volstaan worden met turbines met IEC-klasse II of III. Daarom zijn in de be-rekening van de differentiatieformule IEC klasse I-turbines niet beschouwd in windarme gebie-den. Marktpartijen hebben aangegeven dat enkele geplande projecten wel klasse I-turbines op het oog hebben voor windarme gebieden. ECN en KEMA zien die keuze als een neveneffect van de vollasturensystematiek die de afgelopen jaren in gebruik is geweest. Enkel voor de SDE+-regeling van 2012 zou een uitzondering gemaakt kunnen worden om die projecten door-gang te kunnen laten vinden ondanks de aanpassing van de systematiek. Omwille van conti-nuïteit van de SDE+-regeling, hebben ECN en KEMA gekozen om de berekening in dit advies op dezelfde principes te baseren als de berekening in komende jaren. Daarom zijn klasse I-turbines op windarme gebieden niet meegewogen in dit eindadvies.
ECN_and KEMA_201107_Conceptadvies basisbedragen voor SDE 2012
6.8.1 Parameters wind op land
Om tot het basisbedrag voor windenergie op land te komen, zijn verschillende windturbines met bijbehorende investeringen gebruikt. Het basisbedrag gaat uit van een gemiddelde turbineprijs van 1114 €/kW. Bijkomende kosten voor fundatie (inclusief heipalen), elektrische infrastructuur,in het park, netaansluiting, civiele infrastructuur, grondverwervingskosten, bouwrente en CARverzekeringmtijdens de bouw zijn vastgesteld op 27%. Het basisbedrag rekent met gemiddelde investeringskosten van 1406 €/kW.
Voor de financiële randvoorwaarden is ECN en KEMA door het Ministerie gevraagd om uit te gaan van een financieel totaalrendement van 7,8%.
Onshore wind
|  |  | 1350 | EURO/kW | Investment costs
|  |  | 2200 | h | Full load hours
|  |  | 25.8 | EURO/kW/year | Fixed Operation and maintenance
|  |  | 0.011 | EURO/kWh | Variable Operation and maintenance
|  |  | 15 | y | Levensduur
|  |  | 0.051 | % | WACC
Wind in meer
|  |  | 3100 | h | Full load hours
|  |  | 2450 | EURO/kW | Investment costs
|  |  | 15 | y | Lifetime
|  |  | 12.4 | EURO/kW | Fixed O&M
|  |  | 0.017 | EURO/kWh | Variabe O&M
|  |  | 0.051 | % | WACC
ECN_201107_Properties of the O&M cost estimator | 144
Belwind.eu |  | Levensduur: Belwind zal 20 jaar lang een maximale capaciteit aan windenergie leveren aan het Belgische onshore elektriciteitsnetwerk. Een maximale verlenging met 10 jaar is mogelijk. | 25 | y | Lifetime
|  | Belwind is in 2009 het verst gelegen offshore windpark (46 kilometer) en het ligt in het diepste water (tot 37 meter). Het is ontwikkeld in slechts 3,5 jaar en gebouwd in 15 maanden. Het is bovendien het grootste windpark gefinancierd met ‘non recourse’-financiering. | 1.2 | y | Construction time
165 MW (55 windturbines van 3 MW)
DECC_2010601_UK Electricity Generation costs update
84
Offshore
|  |  | 2 | yr | Construction period
|  |  | 24 | yr | Technical lifetime
|  |  | 100% | % | Efficiency
|  |  | 50243 | £/MW/yr | O&M fixed fee
|  |  | 17000 | £/MW/yr | Insurance
|  |  | - | £/MWh | O&M variable fee
|  |  | 41% | % | average load factor
|  |  | - | £/kW | Infrastructure costs
|  |  | 2750 | £/kW | EPC costs
|  |  | 0% | % | Average degredation
|  |  | 9000 | £/MW/yr | Include connection and UoS charges?
| 83 |  |  |  | Onshore
|  |  | 2 | yr | Construction period
|  |  | 24 | yr | Technical lifetime
|  |  | 100% | % | Efficiency
|  |  | 13703 | £/MW/yr | O&M fixed fee
|  |  | 10500 | £/MW/yr | Insurance
|  |  | - | £/MWh | O&M variable fee
|  |  | 28% | % | average load factor
|  |  | - | £/kW | Infrastructure costs
|  |  | 1400 | £/kW | EPC costs
|  |  | 0% | % | Average degredation
|  |  | 10000 | £/MW/yr | Include connection and UoS charges?
| 4 | One area which is difficult to categorise is decommissioning costs. These are often treated as an additional capital cost, which is incurred after the operating life of asset. The alternative is to make a provisioning allowance in either annual fixed costs or variable costs which would lead to the accumulation of funds over the operating life of the asset, such that it equals the projected decommissioning liability. As recommended by DECC this study assumes a fixed decommissioning charge per MWh for nuclear plant that is incurred over the operating life. For all the remaining technologies we have assumed that the decommissioning liabilities are offset by the residual value of the assets. This is a reasonable assumption given the scrap value of assets is generally close to the decommissioning liabilities, furthermore due to discounting these values tend to be very small. | 0 | EURO/MW | Decommissioning costs wind
| 56 | In the base case, a 10% real discount rate has been applied across all cash-flows and energy production over all years. | 0.1 | % | WACC
CREG_20111027_de analyse van de kosten en onrendable topberekening voor offshore wind in Belgie | 11
Offshore
|  |  | 3500 | h | Ful load hours
|  |  | 20 | yr | Economical lifetime
|  |  | 38 | EURO/MWh | O&M
|  |  | 3800000 | EURO/MW | Investment costs
Operationele kosten: Op basis van de assumpties uit tabel 1 heeft de CREG de huidige gemiddelde minimumprijs gereconstrueerd. Het model en de assumpties is meermaals besproken met de exploitanten van de huidige offshore parken. De exploitanten waren het eens met de berekeningsmethode, maar hebben vooral kritiek geuit op de inschatting van de operationele kosten. Door de CREG zijn deze ingeschat op € 30,00/MWh. De exploitanten schatten deze echter in tussen €36,00/MWh en €40,00/MWh.
13
Tijdens overleg met de exploitanten is gebleken dat de OPEX kost ondermeer wordt gedreven door de hoge eisen die de banken stellen voor het onderhoud- en verzekeringscontract. Sommige eisen van de banken vinden de exploitanten te vergaand. Ze hebben dan ook aangegeven dat na afloop van de lening, vanaf het zestiende jaar dus, de OPEX kost lager kan zijn door: - lagere verzekeringskost door ondermeer niet meer te verzekeren voor natuurrampen; - meer concurrentie tussen onderhoudsfirma’s of door zelf instaan voor het onderhoud doordat de technologie meer matuur is.
23
| 11 | De investering is vastgelegd op €3.800.000,00/MW. Deze inschatting wordt bevestigd door internationale studies en door de investeringskosten van de huidige Belgische offshore parken. Ernst & Young20 rapporteert een investering van £3.200.000,00/MW (€3.744.000,00/MW) in 2009. Deze investering bevat zowel de turbines, de funderingen als de elektrische infrastructuur en planning- en ontwikkelingskosten. Morgan Stanley16 rapporteert dezelfdegrootte, namelijk £3.000.000,00/MW. KPMG17 neemt een investering van €3.700.000,00/MW op in haar rapport. Naast deze investering, rapporteert KPMG ook €35.000.000,00 aan ontwikkelingskosten voor 400 MW (€87.500,00/MW). Zo komt de totale investering bij KPMG op €3.787.500,00/MW.
EWEA_20090301_Economics of wind energy | 9
The cost of acquiring a turbine site (on land) varies signifi cantly between projects, so the figure in Table 1.1 is to be taken as an example.
|  | TECHNICAL LIFETIME OF WIND TURBINES | 25 | y | onshore lifetime
Wind turbines from the leading international wind turbine manufacturers are usually type-certified to withstand the vagaries of a particular local wind climate class safely for 20 years, although they may survive
longer, particularly in low-turbulence climates. Wind conditions at sea are less turbulent than on
land, hence offshore sites are type certified to last 25-30 years on offshore sites. In view of the substantially
higher installation costs at sea, life extension is a possibility.
Senternovum_200908_Participatie_in_windenergieprojecten
Onshore
|  |  | 1430 | EURO/kW | Investment costs
|  |  | 2200 | h | full load hours
|  |  | 0.011 | EURO/kWh | variable O&M
|  |  | 11 | EURO/kW | Connection
|  |  | 0.05 | % | WACC
Sloopkosten Na de einde van de technische levensduur zal het windpark afgebroken dienen te worden. Over de hoogte van de sloopkosten is slechts beperkt wat te zeggen. Met name als windmolens voor het einde van de technische levensduur worden verwijderd is het mogelijk om deze te verkopen. In dat geval kan er zelfs opbrengst zijn. Voor oudere molens zullen wel sloopkosten moeten worden gemaakt. Het komt regelmatig voor, dat de sloop van de turbine aan het eind van de exploitatietermijn een voorwaarde is bij de vergunning verlening. In dergelijke gevallen voorziet een bankgarantie voor de sloopkosten in de zekerheid jegens de vergunningverlener.
|  | Na 15 jaar zijn windmolens afgeschreven, afbetaald en is er geen recht meer op subsidie. De | 15 | y | lifetime
kosten dalen daarmee significant, immers de grootste kostenpost vormen de financieringslasten.
De baten dalen ook, doordat na 15 jaar het recht op SDE vervalt.
VNG_20110101_Taxatiewijzer en kengetallen deel 12 - windturbines
Onshore
|  |  | 2275 | h | full load hours
Offshore
|  |  | 3174.5614 | h | full load hours
| 9 | De kosten van de toren per meter (meerkosten voor een mast van 55 meter naar 65 meter kosten c.a. € 5.500,= per meter bij een turbine van 850 kW en een verlenging van 78 meter naar 100 meter kosten c.a. € 10.000,= per meter bij een turbine van 2.000 kW)
from the 2010 version
CBS statline
http://statline.cbs.nl/StatWeb/publication/?DM=SLNL&PA=70789ned&D1=0-1&D2=2-4&D3=36,41,46,51-59&HDR=G2&STB=T,G1&VW=T |  |  | Netherlands | Offshore | Production data
2010
|  |  | 679000 | MWh | Production
|  |  | 228 | MW | Netto
|  |  | 0.33996 | % | Load factor
|  |  | 2978.0702 | h | Full load hours
2009
|  |  | 735000 | MWh | Production
|  |  | 228 | MW | Netto
|  |  | 0.368 | % | Load factor
|  |  | 3223.6842 | h | Full load hours
2008
|  |  | 596000 | MWh | Production
|  |  | 228 | MW | Netto
|  |  | 0.29841 | % | Load factor
|  |  | 2614.0351 | h | Full load hours
2007
|  |  | 330000 | MWh | Production
|  |  | 108 | MW | Netto
|  |  | 0.34881 | % | Load factor
|  |  | 3055.5556 | h | Full load hours
|  |  | 2967.8363 | h | Average onshore full load hour 2007 - 2010
|  |  | Netherlands | Onshore | Production data
2010
|  |  | 3315000 | MWh | Production
|  |  | 2009 | MW | Netto
|  |  | 0.18836 | % | Load factor
|  |  | 1650.0747 | h | Full load hours
|  |  | 1661 | h | Full load hours CBS
2009
|  |  | 3846000 | MWh | Production
|  |  | 1994 | MW | Netto
|  |  | 0.22018 | % | Load factor
|  |  | 1928.7864 | h | Full load hours
|  |  | 1916 | h | Full load hours CBS
2008
|  |  | 3664000 | MWh | Production
|  |  | 1921 | MW | Netto
|  |  | 0.21773 | % | Load factor
|  |  | 1907.3399 | h | Full load hours
|  |  | 2083 | h | Full load hours CBS
2007
|  |  | 3108000 | MWh | Production
|  |  | 1641 | MW | Netto
|  |  | 0.21621 | % | Load factor
|  |  | 1893.9671 | h | Full load hours
|  |  | 2047 | h | Full load hours CBS
|  |  | 1926.75 | h | Average onshore CBS full load hour 2007 - 2010
http://www.energeia.nl/news.php?ID=47799 |  | "Kostenreductie moet komen uit de hele keten." Namens Ballast Nedam ziet de manager voldoende verbeterpotentieel. Als voorbeeld grijpt hij naar het verleden. Toen het Nederlandse windpark voor de kust van Egmond gebouwd werd, zette Ballast Nedam gemiddeld één fundering neer per 48 uur. "Nu bouwen we er twee in 24 uur.
Ook RWE-man Laut van Seventer sluit zich aan bij de kaasschaafmethode over de hele keten: "Kostenreductie is mogelijk op een breed front." Volgens hem is er nu te weinig concurrentie om tot innovatie uit te dagen. Er zijn te weinig installatieschepen om de molens en funderingen neer te zetten, er zijn te weinig turbines die aantoonbaar bruikbaar zijn op zee. Dat resulteert in een kostprijs die hoger is dan nodig.
Kosten -en dus kostenreductie- hangt volgens Soe-Jensen samen: kapitaalkosten, operationele kosten en productie. Die drie dingen samen bepalen de kosten per kWh. Operationele kosten komen van onderhoud -"onze brandstof is immers gratis"- en kapitaalkosten zijn de turbines. Volgens de president ligt bij het concept kostenreductie veel te veel nadruk op die twee zaken, terwijl elke extra turbine voor extra productie zorgt, en daarmee de kosten per energie-eenheid naar beneden schroeft.
"Met deze houding van de Nederlandse regering heb ik niets te zoeken in Nederland", foetert Soe-Jensen. "Ik realiseer hier niets, ik leer hier niets, en in Duitsland en Groot-Brittannië is genoeg te doen. Elke euro die ik nu in Nederland investeer, is money for nothing."
Bloomberg and Rabobank_20111129_Offshore Wind - Foundations for growth | 21 | Political support, political risk: We consider political support in the Netherlands to be poor
and risk to be high. According to its NREAP, the Netherlands aims to commission 5,178MW of
offshore wind by 2020 – 49% of its intended renewable energy installations this decade. However
since the appointment of a new coalition government comprising the Liberal Party and
the Christian-Democrats in October 2010, these plans have been shelved. The Cabinet led by
Prime Minister Mark Rutte has proposed price competition under the Promotion of Renewable
Energy Scheme (Stimulering Duurzame Energieproductie + or SDE+ Scheme), whereby the
subsidies would be allocated to the most cost-effective technologies from a finite budget of EUR
1.5bn. This favours onshore wind and biomass over offshore wind. This situation replicates the
previous abandonment of a Dutch subsidy scheme – MEP programme in 2008 – which resulted
in the current hiatus in offshore wind installations.
| 27 | Since 2009, the migration of projects further offshore with little competition in the supply chain has increased capex and LCOE.
Balance of plant still make up 60% of offshore wind costs compared to 25% in onshore wind.
| 30 | The move to larger turbine models should improve project economics. While 5MW+ turbines will be more expensive per unit than current models, installation and maintenance costs will be lower: the reduced number of units will lower overall capex per MW (fewer foundations and array cables); taller towers will gain access to stronger winds; and improved production efficiency will increase energy conversion rates.
| 31 | We expect monopiles to be partly replaced by jacket structures between 2015 and 2020 as they are more cost effective for 5MW+ turbines in deeper waters.
| 31 | Foundation costs are highly sensitive to steel prices. In this estimate we assume EUR 400/metric ton.
| 34 | The supply of high voltage export cables to the offshore wind industry is likely to be the tightest area of supply;
| 35 | Current prices for HVAC export cables – including supply and installation – are around EUR 0.4m/km, but the majority of contracts, range from
EUR 0.5m/km to EUR 0.75m/km.
http://www.noordzeewind.nl/index.php?url=project_read_more_59.html |  | Onderhoud aan windturbines op zee
De windturbines hebben éénmaal per jaar onderhoud nodig. Dit onderhoud wordt gepland in periodes dat het minder waait. Op die momenten is het windpark via zee het beste te bereiken en hebben we het minste opbrengstverlies.
Per windturbine wordt het onderhoud uitgevoerd in 2 dagen met een team van 3-4 personen. De onderhoudsmedewerkers gaan per boot naar de molens. Om de periode van onderhoud te beperken, worden meerdere teams tegelijk ingezet.
Het onderhoud van de turbines bestaat o.a. uit het uitvoeren van inspecties, smeren van draaiende onderdelen en vervangen van slijtage onderdelen. Het onderhouden van een turbine kan je qua activiteiten vergelijken met het onderhouden van een auto. Een auto krijgt na ongeveer 20.000 km een onderhoudsbeurt. Die 20.000 kilometer is te vergelijken met 400 draaiuren van een windturbine.
In totaal kan een windturbine ongeveer 8760 uren per jaar draaien. Uiteraard is dit afhankelijk van de wind.
Naast het geplande onderhoud, is de verwachting dat een turbine 3 tot 4 keer per jaar moet worden bezocht voor het verhelpen van een storing. Voor het oplossen van een storing wordt de turbine, om veilig te kunnen werken, bezocht door een team van 2 personen.
Het onderhoud van de fundaties van de molens, de zeekabels en het transformatorstation substation wordt een keer per jaar uitgevoerd. Dit onderhoud bestaat voornamelijk uit visuele inspecties en onderwater video opnamen.
Energeia |  | Siemens mikt met lichtgewicht windturbine op koppositie op zee 8 december 2011 AMSTERDAM (Energeia) - "De lichtste machine in haar klasse". Met die wervende bewoordingen zet Siemens Energy zijn nieuwe 6 MW offshore windturbine in de markt. De Duitse windmolenfabrikant presenteerde haar nieuwe paradepaardje voor het opwekken van windenergie op zee op het onlangs in Amsterdam gehouden congres van de European Offshore Wind Energy Association (EWEA). Met "licht" bedoelt Siemens de 350 ton die de gondel en rotor samen wegen dankzij de toepassing van een directe aandrijving. Bij direct aangedreven windturbines komt de gebruikelijke tandwielkast te vervallen. Dat maakt dat de nieuwe Siemens-turbine de helft minder onderdelen bevat dan vergelijkbare windturbines mét tandwielkast, aldus het bedrijf. Het verwacht dat de nieuwe SWT-6.0 turbine de kosten van offshore-windenergie "aanzienlijk" zal verlagen en daarmee de nieuwe standaard wordt voor windparken op zee. Een gedurfde uitspraak want de concurrentie zit bepaald niet stil. Zo werken het Franse Alstom en het Duitse Nordex ook aan een prototype voor een direct drive 6 MW windturbine voor op zee en doen Chinese windturbinebouwers als Sinovel, Goldwing en Guodian dat ook. Het Nederlandse bedrijf Darwind werkt als onderdeel van het Chinese XEMC ook aan een offshore direct drive-turbine, maar dan een van 5 MW. Siemens claimt de koppositie in het offshore wind 6 MW segment op basis van wat er nu op de markt te koop is, licht woordvoerder Rob Kuilboer van Siemens Nederland toe: "Een partij met alleen nog een ontwerp op de tekentafel kan van alles beweren, maar ons prototype draait al een halfjaar in een testveld bij het Deense Høvsøre." Kuilboer legt ook uit dat de SWT-6.0 turbine niet alleen goedkoop is in onderhoud maar dat als gevolg van het lagere gewicht de kosten van de fundering en van de installatie ook lager uitvallen vergeleken met even grote turbines met tandwielkast-aandrijving. Ook is het complete elektrische systeem van de turbine ondergebracht in de gondel. Daardoor kan dit voor de inbedrijfstelling nog aan wal worden getest, wat ook geld bespaard. De turbine kan worden uitgerust met 58 meter lange rotorbladen die het bedrijf al bij andere turbines toepast en met een nieuw 75 meter lang blad dat extra sterk en licht is. Voordat in 2014 de serieproductie van start gaat, worden er in 2012 en 2013 circa 50 SWT-6.0 turbines geplaatst op locaties in Denemarken, Duitsland en Nederland. Kuilboer wilde nog niet zeggen waar precies de turbines in ons land komen te staan. Andere grote windturbinebouwers zoals Vestas, Repower en Bard zijn bij de bouw van steeds grotere windturbines voor op zee (nog) niet overgestapt op direct drive-technologie. Een reden daarvoor is dat er voor de magneten die in direct drive-turbines worden gebruikt veel zeldzame aardmetalen nodig zijn, terwijl deze metalen steeds schaarser worden. Ook vinden deze fabrikanten dat de tandwielkast-aandrijving zich inmiddels heeft bewezen in de barre omstandigheden op zee terwijl dat voor de direct drive-technologie nog niet geldt.
http://www.energeia.nl/news.php?ID=47860
http://www.energeia.nl/news.php?ID=48019 |  | Scheidend ECN-expert: turbines op zee nog niet betrouwbaar, maar wel nodig Op land, "op een winderige plek aan de kust" zitten windparken volgens Beurskens nu al dicht tegen een rendabele exploitatie aan. Meer landinwaarts is dat minder het geval en op zee nog helemaal niet: "Op zee zijn de kosten een factor 2 hoger. Daar kan wel nog een heel stuk van af, maar ik acht een rendabele exploitatie op zee toch pas over een jaar of 10 tot 15 haalbaar".
http://www.energeia.nl/news.php?ID=47995 |  | Openstelling van 2012-ronde SDE+ anderhalve maand later dan gedacht
Na overleg met de Tweede Kamer zegde Verhagen half december een extra categorie wind op land toe binnen de 2012-ronde van de SDE+-regeling, met meer subsidiabele productie-uren en een lagere geprojecteerde kostprijs per kWh. Dit als douceurtje voor het feit dat hij winddifferentiatie binnen de SDE+-regeling uit had gesteld tot 2013. Nu heeft hij ECN en Kema gevraagd om een nieuw basisbedrag, dus de kostprijs, te berekenen voor windprojecten op windrijke locatie.
Van der Zwaan, B_20110522_Evolving Economics of Offshore Wind Power - Cost reductions from scaling and learning
3
Great UKERC_201009_Expectations - The cost of offshore wind in UK waters | 10 |  | 89.3333 | pound/kW | O&M average
|  |  | 38.2857 | % | Load factor average
|  |  | 20 | y | Lifetime
Operating costs for offshore wind projects include O&M services from wind turbine suppliers, vessel hire and other O&M support, labour costs, insurance and grid charges. The ranges presented are the average annual costs for the life of the project. Operational costs varied between £100,000/MW/year and £167,000/MW/year for the <100MW scale and from £117,000/MW/year to £184,000/MW/year for the > 100MW scale. The variation at both these scales is born out of the asset specific nature of operational expenditure for offshore wind, with contract costs depending on the overall site characteristics. Although likely to be the cause of the higher operating costs for the >100MW scale. Analysis of costs against the individual site characteristics of water depth and distance from shore did not show any direct correlation.
ARUP_201106_Review of the generation costs and deployment potential of renewable electricity technologies in the UK | 47
Offshore
|  |  | 153300 | POUND/MW | Operation and maintenance costs (fixed)
(15) It should be noted that the increase in cost is not, in our experience, related to the size of the asset but is related to the timing of construction with costs having increased substantially over the last five years (see “Cost of Financial Support for Offshore Wind”, Ernst & Young 2009)
| 43 | Stakeholders typically assumed project life spans between 20 and 25 years.
ECN_and KEMA_201001_SDE Wind op land met vollasturen
6
Twee projecten konden niet worden gelokaliseerd door gebrek aan gegevens.
| 8 | Deze rapportage gaat in op de SDE-subsidie voor wind op land in relatie tot de rentabiliteit van windprojecten en op de vraag of differentiatie gewenst is om de doelstelling voor wind op land te behalen. Aanleiding hiervoor is de contra-expertise studie die NWEA door Ecorys heeft uit laten voeren op het ECN/KEMA-advies over het SDE-basisbedrag voor wind op land, en het verzoek van kamerlid Samsom aan de minister om differentiatie in de subsidieverlening voor wind op land te onderzoeken.
| 9 | Ecorys is door NWEA gevraagd een contra-expertise uit te voeren naar de door ECN/KEMA geadviseerde hoogte van het basisbedrag voor wind op land. Dit is gebeurd aan de hand van 16 projecten die door de NWEA zijn aangeleverd.
12
| 5 | De verschillende technisch-economische parameters van de onrendabele projecten zijn onderzocht. De onrendabele projecten worden gekenmerkt door hoge investeringskosten, die een grote invloed op de kostprijs hebben. Een groot deel van de investeringskosten bestaat uit de kosten van de windturbine. Opvallend is dat de kosten voor de windturbines per park grote verschillen vertonen, variërend van 2,50 tot 2,80 miljoen euro voor een 2 MW turbine, en van 2,65 tot 3,50 miljoen euro voor een 3 MW turbine. Een groot deel van de kostenverschillen kan verklaard worden door de gekozen rotordiameter of masthoogte.
|  |  | 1429.9375 | EURO/kW | investment costs
|  |  | 53.125 | EURO/kW | o&m
|  |  | 2482.625 | h | Vollasturen
| 15 | Met uitzondering van project 12 en 13, behalen alle rendabele projecten een windsnelheid
van 7,0 m/s of hoger
20
Figuur 6.2 laat zien dat de werkelijke productiekosten goed ingeschat kunnen worden door te
kijken naar de verhouding tussen de werkelijke opbrengst van een project, en de referentieopbrengst
op basis van turbinetype en rotordiameter. Als twee uitbijterprojecten worden verwijderd,
stijgt deze correlatie zelfs tot 0,97.
Ecorys_20090227_Contra-expertise op SDE advies wind op land
| 8 | Hierop volgt een vergelijkend onderzoek naar de verschillen tussen de aannames van ECN/KEMA en de gegevens uit de praktijk. Dit gebeurt op basis van gedetailleerde gegevens van 16 projecten die de leden van NWEA hebben aangeleverd. De leden hebben gegevens aangeleverd voor 20 projecten die op verschillende locaties in het land zijn gelegen. Hiervan zijn er 4 uit de sample gelaten omdat zij te laag scoorden op het aantal vollasturen.
11
| 12 | Representativiteit van de sample
In totaal verwacht men dat er in 2009 voor 830 MW SDE zal worden aangevraagd.
Hiervan neemt één park in de Noordoostpolder 450 MW voor haar rekening. Dit project
is buiten de sample gelaten omdat de specifieke omstandigheden van dit project dusdanig
afwijken dat het een vertekenend beeld zou geven van het geheel.
Van de overgebleven 380 MW zullen de projecten in de sample ongeveer 280MW (74%)
voor hun rekening nemen. De projecten variëren met betrekking tot de vollasturen van
2000 uur tot 3300 uur per jaar en met betrekking tot capaciteit van 850 kW tot 108 MW.
| 14-15 | ECN/KEMA (2008) gaat uit van minder vollasturen dan het gemiddelde uit de NWEAsample
(2200 vs. 2508). Het verschil is bijna 300 vollasturen (zie Tabel 2.6).
Het verschil wordt deels verklaard doordat er twee projecten in de NWEA-sample zijn die
3300 vollasturen produceren; dit is relatief hoog voor wind op land, maar niet ongewoon.
Zouden we deze projecten buiten beschouwing dan daalt het gemiddelde naar 2387 uren.
| 15 | O&M kosten De ECN/KEMA aannames omtrent grondkosten en OZB zijn zo goed als identiek aan de NWEA-sample. In beide gevallen ligt het gemiddelde ronde 14 €/kW. De kosten voor de netaansluiting liggen bij ECN/KEMA echter hoger (11 €/kW vs. 3 €/kW). Zoals uitgelegd beschouwt ECN/KEMA (2008) een deel van de O&M kosten variabel en worden uitgedrukt in eurocent/kWh. Voor de NWEA-sample liggen deze ongeveer 0,1 eurocent/kWh boven het gemiddelde van ECN/KEMA. Sommige O&M kosten worden door ECN/KEMA (2008) dus lager ingeschat, andere weer hoger. Indien we alle O&M kosten sommeren en uitdrukken in €/kW, dan ligt het gemiddelde van de NWEA projecten iets hoger dan ECN/KEMA (52 €/kW vs. 49 €/kW – zie Tabel 2.8).
| 10 | Kosten voor onderhoud ECN/KEMA (2008) maakt een onderscheid tussen jaarlijks vaste kosten voor O&M en variabele kosten voor O&M. De hoogte van de variabele kosten hangen af van het geproduceerde aantal kWh. De hoogte van de vaste kosten hangt af van het opgesteld vermogen (het aantal kW). Onder vaste kosten worden verstaan de kosten voor grond, de onroerendzaakbelasting, en de jaarlijkse kosten voor het in standhouden van de aansluiting. ECN/KEMA (2008) schat deze kosten op een gemiddelde van 25 €/kW (zie Tabel 2.1).8 Variabele kosten voor O&M omvatten volgens ECN/KEMA de kosten voor onderhoud, garanties, en verzekeringen (voor machinebreuk en productieverlies). Zij worden geraamd op 0.011 euro/kW (zie Tabel 2.1).
ING_20110914_Hernieuwbare energie in Nederland tot 2020 - Investeringskansen voor de energietransitie | 31 | • De integrale kosten bedragen 5,8 eurocent per kWh op land en 8,8 op zee. Enerzijds neemt de kosteneffectiviteit toe door grotere vermogens van windturbines en als gevolg van innovatie op het gebied van materiaaltechnologie (gewicht-sterkte verhouding en omzetting van wind in energie bij lage snelheden). Anderzijds neemt de kosteneffectiviteit af naarmate de windparken verder op zee worden aangelegd en dieper gefundeerd worden. • Het upfront investeringsbedrag bedraagt internationaal € 1,4 mln per MW voor windturbines op land en € 3,9 mln per MW voor turbines op zee. De operationele kosten bedragen jaarlijks € 18K tot € 23K per MW afhankelijk van de locatie | 3900000 | EURO/MW | Investment costs
|  |  | 1400000 | EURO/MW | Investment costs
|  |  | 20500 | EURO/MW | Fixed O&m
NUON Shell_20101112_Operations report 2009 | 8 | Production OWEZ 2009 |  |  | Production OWEZ 2009
Rapport Operationele data park Egmonc aan Zee |  |  | 315211 | MWH | Output
|  |  | 108 | MW | Capacity
|  |  | 2918.6204 | h | Full load hours
Production OWEZ 2008
|  |  | 315193 | MWH | Output
|  |  | 108 | MW | Capacity
|  |  | 2918.4537 | h | Full load hours
Production OWEZ 2007
|  |  | 330060 | MWH | Output
|  |  | 108 | MW | Capacity
|  |  | 3056.1111 | h | Full load hours
|  |  | 2964.3951 | h | Average full load hours EWEZ 2007 - 2009
Noordzeewind_20090807_Operations report 2008
Noordzeewind_20081023_Operations report 2007
Offshore Valuation group_2010_The offshore valuation
| 48 | Capital costs for fixed offshore wind increased by 26-33%73 between 2008 and 2010. The majority of this rise can be accounted for by the fall in the value of the pound against the Euro, as turbines, cables and substations are not manufactured in the UK and are generally priced in Euros. Once this effect has been removed, underlying capital costs have increased by only 4-7% since 2008. This could be due to a shortage of manufacturing capacity and vessels over the period, rising energy and commodity costs, or increases in the underlying cost profile of offshore wind.
89
91
Ernst and Young_20090427_Cost of and financial support for offshore wind
5
Reasons O&M
Improved budgeting – reflecting track record and experience gained from operating early projects (e.g., better handle of post-installation repair work, frequency of parts replacement, performance and availability levels, accessibility) where costs had perhaps been underestimated at first.
Renewable UK_201106_Offshore Wind - Forecasts of future costs and benefits
12
KPMG_201104_Offshore wind in Europe - 2010 market report
| 77 | The average costs amount 35000000 per offshore wind park (400MW) | 87500 | EURO/MW | Development costs
| 79 |  | 3710000 | EURO/MW | Investment costs
|  |  | 3797500 | EURO/MW | Total investment costs
|  |  | 37.8917 | EURO/MWh | Operating costs
|  |  | 3850 | h | Full load hours
|  |  | 20 | y | Operating life
|  |  | 200000 | EURO/MW | Decommisioning costs
|  |  | 3 | y | Construction time
80
Assumption about depth and distance to land
Van der Zwaan, B. et al_20110522_Evolving Economics of Offshore Wind Power - Cost reductions from scaling and learning
The purpose of this paper is first to summarize the major mechanisms that so far have created cost reductions, as well as increases, for offshore wind power construction in the last 5 years.
Main findings:
· Since approximately 2005 significant cost increases have been observed for offshore wind power, rather than cost decreases. The authors think that essentially four main independent drivers can be discerned for this rise in costs:
· (1) recent cost increase can to a large extent be explained by a surge in prices of commodities such as copper and steel (particularly due demand in developing countries such as China and India)
(2) a tightness in the market of wind turbine manufacturers and installation service providers
(3) an increase in sea depth at which wind turbines are built, and (not really proven yet)
(4) a greater distance from shoreline at which wind parks are located (not really proven yet)
The authors further conclude that cost-decreasing effects of scaling and learning for offshore wind power can partly or entirely be offset by cost increasing effects such as commodity price surges.
Bloomberg and Rabobank_20111129_Offshore Wind - Foundations for growth
FD_201109_Offshore 2011 - Nederland biedt legio kansen voor wind op zee |  | De kosten voor het bouwen van windturbines op zee zijn de laatste vijf jaar toegenomen. Oorzaken zijn onder meer gestegen grondstofprijzen, de geringe concurrentie en schaarste aan windturbines. Van Zuijlen: “Ook de condities op zee bleken grilliger dan verwacht. Wat je nu ziet is dat het aantal fabrikanten ﬂ ink is toegenomen. Daardoor is er meer concurrentie en een betere marktwerking. Ook de turbines die nu voor of shore zijn ontwikkeld, zijn technisch verﬁjnder dan pakweg tien jaar geleden. De onderhoudsgevoeligheid is sterk gereduceerd.”
PwC_20110512_Offshore proof - turning windpower promise into performance | 12
17
19
Eneco_2011_Jaarverslag | 32 | Door achterblijvende windomstandigheden is de elektriciteitsopbrengst van het offshore Prinses Amaliawindpark lager dan
begroot.
IEA_201103_Multi-national Case Study of the Financial cost of wind energy | 50-51 | ONSHORE
Project Features
Since 2003, the Netherlands has had a feed-in system that supports wind on the basis of full load
hours. Until 2006, feed-in was provided for up to 18,000 full load hours per project for a
maximum of 10 years. Since 2008, the feed-in support aims at projects with at least 2,200 full
load hours. The average full load hours are about 2,000 hours/year, with a common range
between 1,600 and 2,800 hours/year.
The Dutch onshore project shows the reference project used in calculations of the feed-in
support.26 The project sets the cost level at which the majority of the projects initiatives are
financially viable. A typical size is a small wind farm of 15 MW. Most of the wind projects use a
2-3 MW turbine (90 meter rotor diameter), with hub heights of 60 to 80 meters. In some regions,
26 Note that the “reference project” does not refer to the “Reference Case” used in this analysis.
a height limitation is imposed. In those regions, a 450-800 kW turbine, with a hub height of 40-
60 meters, is common.
Investment Costs
Typical project investment costs range from €1,000/kW ($1,390/kW) to more than €1,600/kW
($2,224/kW), and, generally speaking, high investment costs correspond to high full load hours.
Operations and Maintenance Costs
The operational costs include a production dependent component of €9-12/MWh ($13-
$17/MWh), typically with service contracts for the first five years of operation, and a capacity
dependent component of €25/kW ($35/kW), which includes land rent and grid connection costs.
The capacity dependent component can vary significantly between projects. The real operational
costs are assumed to increase with 2% per annum.
Financing Costs
The model uses project financing with 80% annuity based debt, reflecting investments of project
developers. An equity rate of 15% is assumed fair by the government (as the subsidy provider),
with a debt rate of 6%. Utility companies mostly finance on their balance sheets. The corporate
tax rate is 25.5%.
Source of Data
The data used for this task is the published data of the reference projects that are used in the
calculations of the Dutch feed-in premiums (Lensink et al., 2009, Cleijne et al., 2010).
OFFSHORE
| 52-53 | Project Features
Offshore wind projects in the Netherlands can receive a building permit to erect a wind farm in a
maximum area of 50 km2. Typical offshore projects are, therefore, 100-300 MW in capacity. The
net production delivered to the grid equals 3,300-4,000 full load hours. In 2008, the Prinses
Amalia wind farm was completed. The presented data does not necessarily reflect the cost
structure of that specific wind farm.
Investment Costs
The investment costs are in the range of €2,500-3,500/kW ($3475-4865/kW). The project that
was completed in 2008 uses a rather small V90 with 2 MW due to limiting conditions in the
permit that had been granted several years before.
Operations and Maintenance Costs
Operational costs show a large uncertainty, due to lack of hands-on experience by the operator.
The costs are estimated at €90/kW ($125/kW) per annum.
Financing Costs
The model uses a project based financing structure, with 50% debt. The Prinses Amalia wind
farm has been financed on the project basis. The assumed WACC approaches the cost of capital
of balance financing, which has been used for another existing offshore wind farm , owned by
Nuon/Shell and named OWEZ.
Revenue and Policy Incentives
The existing wind farms receive subsidies under the old MEP scheme: a fixed feed-in premium
of €97 €/MWh (€135/MWh). Soft loans and an incentive subsidies apply.
Source of Data
The data is derived from press notices and other publicly available information, where the
information gaps are covered by modeling exercises based on non-disclosed information.
53
Model Input Assumptions
Tabular presentations show input assumptions, onshore and offshore, for each year. Costs for
2007 projects are in €2008. The market price of electricity in Table 4-5 includes transaction and
balancing costs as well as discounts for long term contracts.
| 54 | Project Output
Wind turbines in the Netherlands have a load factor of about 25% (2,200 full load hours), which
is lower than the 30% in the Reference Case. As the feed-in subsidy is capped to 2,200 full load
hours (or even less, taking the specifics of the SDE regulation into account), there is limited
incentive to produce more than 2,200 full hours. The more important factor remains the wind
regime.
EWEA_20111129_OFFSHORE 2011 pre-event semainar - 2.2 Erik ter Horst - Ports and Vessels | 22 | Expectations vessel market:
•Currently fairly tight
•Coming years numerous vessels coming on the market (delayed…?)
•Slightly softening to 2015 – lower day rates
•Demand increasing after 2016 – increasing dayrates
•… but depending on how civil and O&G market develops
•… and will developers act opportunistic with hiring out their vessels?
EWEA OFFSHORE 2011_20111129_ pre-event semainar - 2.2 Athanasia Arapogianni - Turbines + Substructures
Larger means heavier?
●Lighter generators
●Direct drive permanent magnet generators
●Sophisticated hybrid systems
Conclusions
Strong development of offshore wind power
•Moving to deeper waters further from shore
•Great impact on the supply chain
•New offshore dedicated wind turbines, higher rated capacity, increased energy capture
•Different types of substructures for different types of projects
•Logistical issues to be addressed to allow healthy deployment of the sector
0.36
Conclusion: The area for offshore wind turbines in the ETM should be increased to 0.4-0.5 km2 per unit. Wind turbines at sea are placed further apart than those at land (even when they are the same size) because it takes a longer distance for the air to become 'in equilibrium' at sea (the reason is that at sea the wind is less turbulent). The typical area that a turbine at sea occupies is 75*(D√2) compared to 25*(D√2) on land, where D is the rotor diameter. This data is preliminary, because there are few offshore farms yet. See below for some real data. In the ETM the offshore wind turbine (cap = 3MW, full load hours 3300, area 0.2 km2) produces on average 5.6 MW/km2, whereas MacKay and other people typically work with a power density of 2-3 MW/km2. See below for some data. Conclusion: The area for offshore wind turbines in the ETM should be increased to 0.4-0.5 km2
5.6507
Quintel Intelligence_20120216_offshore wind parks
Consented Offshore Dutch wind parks data
Bart_Ummels_20120113_Vraag over vollasturen |  | Brand Name Power [MW] Rotor [m] Rotor [m2] [W/m2]
Vestas V100-1.8 1,8 100 7854 229
Enercon E126-7.5 7,5 126 12469 602
De Vestas V100-1.8 heeft per MW vermogen een veel groter rotoroppervlak dan de Enercon E126-7,5 en produceert dus (relatief) meer bij lagere windsnelheden.
Een van de trends op dit moment is dat windturbines (relatief) steeds grotere rotoren krijgen, dus minder W/m2. Grotere rotoren worden mogelijk gemaakt door betere ontwerpen, materialen en constructie van windturbinebladen, maar vooral ook door beter controls in de windturbines
ECN_20121230_Basisbedrag wind op land voor windrijke locaties | 1 | Samenvatting Het Ministerie van EL&I heeft aan ECN onderzoek gevraagd naar het basisbedrag voor wind op land voor windrijke locaties met een maximum aantal vollasturen van 3050. Het daarbij behorende basisbedrag adviseren ECN en KEMA op 8,2 €ct/kWh. Deze combinatie van basisbedrag en maximum aantal vollasturen leidt echter tot een onnodig grote financiële verplichting die per beschikking wordt aangegaan. In het licht van het halen van de 14%-doelstelling voor duurzame energie, adviseren ECN en KEMA om een lager maximum aantal vollasturen te overwegen, zodat met hetzelfde SDE+-budget meer windvermogen gecommitteerd kan worden. Op basis van het onderzoek adviseren ECN en KEMA aan het Ministerie van EL&I een lagere vollasturennorm van 2650 te overwegen. Het corresponderende basisbedrag hierbij is 8,5 €ct/kWh. De lagere vollasturennorm met bijbehorend basisbedrag draagt bij aan de effectiviteit en efficiëntie van de SDE+-ondersteuning voor wind op land, omdat windprojecten eerder voor SDE+-in aanmerking komen, omdat de extra categorie voor ontwikkelaars meerwaarde biedt ten opzichte van de vrije categorie van 9,0 €ct/kWh en omdat met hetzelfde budget meer windvermogen gecommitteerd kan worden.
| 2 | Proces
ECN werkt bij alle adviezen over basisbedragen in het kader van de SDE+-regeling samen met KEMA. Ook het basisbedrag voor wind op land voor windrijke locaties is door ECN en KEMA ge-zamenlijk onderzocht. Op 5 januari heeft ECN een discussiememo opgesteld over de mogelijke consequenties, zowel financieel als ruimtelijk, van een categorie met 3050 vollasturen. Dit memo is op 10 januari besproken door NWEA, ECN en KEMA in aanwezigheid van het Ministerie van EL&I. De opmerkingen die ter tafel kwamen zijn in het vervolgonderzoek door ECN en KEMA meegewogen. Op verzoek van EL&I heeft NWEA een reactie nagezonden. Deze reactie is op 13 januari 2012 binnengekomen. De invloed van de inbreng van NWEA op het uiteindelijke advies van ECN en KEMA wordt in Hoofdstuk 5 nader toegelicht.
Aanpak
| 2 | In de zomer van 2011 hebben ECN en KEMA de productiekosten geïnventariseerd van windpro-jecten die in 2012 een SDE+-vergoeding kunnen aanvragen (Lensink et al., 2011). Dit advies sluit aan bij die inventarisatie. Dit betekent dat de ontwikkelingen in bijvoorbeeld turbineprijzen van de afgelopen zes maanden niet zijn beschouwd. Deze keuze is mede gemaakt omwille van de consis-tentie tussen de categorie voor 2200 vollasturen, waarvan het basisbedrag van 9,6 €ct/kWh reeds is aangekondigd, en de nieuwe categorie voor windrijke locaties.
Gebruik gemaakt is van een set van bijna 50 combinaties van generator, rotorbladen en masthoogte. Deze combinaties worden verder in de notitie aangeduid als „turbines‟. Deze turbines, van enkele verschillende leveranciers, variëren in vermogen tussen de 800 kW en 3,6 MW, in rotordiameter tussen de 50 en 110 meter en in masthoogte tussen de 40 en 140 meter. Voor iedere turbine is een raming gemaakt van de investeringskosten. Ook de variabele O&M-kosten (voor verzekeringen en onderhoud) kennen kleine verschillen tussen de turbines. Voor vaste O&M-kosten is in het eerder aangehaalde eindadvies basisbedragen SDE+ 2012 gerekend met 15,3 €/kW per jaar voor een denkbeeldig park van 15 MW bestaande uit turbines van 2 à 3 MW. Een deel van deze kosten schaalt mee met het parkvermogen, een deel schaalt mee met het turbinevermogen. Voor dit advies is aangenomen dat deze vaste O&M-kosten bij benadering enkel meeschalen met het turbinever-mogen.
Verdeling van windrijke locaties
| 3 | ....Anders geformuleerd, de productiekosten van wind op land dienen berekend te worden onder voorwaarde dat een zekere windsnelheid gemiddeld wordt gehaald. De algemene formulering van windrijk laat enige ruimte aan ECN en KEMA in de vertaling naar een specifiek windsnelheid-criterium.
| 4 | Beschouwende een re-actie van NWEA dat kostenefficiëntie reeds een integraal onderdeel is van de SDE+-regeling en overwegende de noodzaak om de kostenberekening voor windrijke locaties consistent te houden met de berekening van 9,6 €ct/kWh bij 2200 vollasturen uit het eindadvies (Lensink et al., 2011), kiezen ECN en KEMA in deze notitie ervoor om de berekening uit te voeren voor projecten met een windsnelheid van 7,0 m/s op 100 meter in relatief open terrein. Uit Figuur 3.2 valt af te leiden dat grote delen van Nederland deze windsnelheid niet halen. Een windsnelheid van 7,0 m/s op 100 meter kan volgens ECN en KEMA dan ook windrijk genoemd worden. Figuur 3.2
| 8 | Aansluiting bij daadwerkelijke kosten In het parlement is de wens uitgesproken om “te differentiëren naar de daadwerkelijke kosten van een specifiek project”. Voor windenergie betekent dat vooral dat het maximum aantal vollasturen waarover SDE+ wordt verstrekt, zo goed mogelijk aansluit bij het aantal vollasturen dat technisch en economisch aannemelijk lijkt. Nu loopt het aantal vollasturen bij 7,0 m/s op 100 meter hoogte voor de onderzochte turbines uiteen van 1800 tot ruim 3500. Het gemiddelde van de 50% van turbines die de meeste vollasturen halen, ligt op iets minder dan 2450. Om recht te doen aan de in het parlement uitgesproken wens, zou het aantal vollasturen op ten minste 2450 dienen te liggen.
Aansluiting bij lopende vergunningstrajecten
De projecten die in 2012 SDE+ kunnen aanvragen, dienen in 2012 ook hun vergunningen ontvan-gen te hebben. Deze projecten zijn voor het grootste gedeelte ontwikkeld in de verwachting van een SDE+-vergoeding van 9,6 €ct/kWh voor maximaal 2200 vollasturen. De verhouding tussen het tur-binevermogen en de rotordiameter kan daarbij afwijken van het economisch optimum. Zo kunnen slechts drie turbines de norm van 3050 vollasturen halen bij 7,0 m/s (zie ook Figuur 4.1). Dit be-treft turbines met een rotordiameter van ten minste 100 meter. Het ligt in de rede dat veel projecten in de pijplijn geen gebruik kunnen maken van zulke grote rotoren, zonder grote vertraging in de projectvoorbereiding op te lopen. Redelijkerwijs zou in de turbinesample in ieder geval een turbine van circa 80 meter hoogte en een rotordiameter van minder dan 100 meter voor moeten komen. Dergelijke turbines, die vergunningstechnisch in veel gevallen mogelijk geacht mogen worden, zijn economisch haalbaar bij een maximum aantal vollasturen van minder dan 2800.
10
ECN en KEMA zien een norm van 2650 tot 2750 vollasturen voor de categorie wind op land voor windrijke locaties als optimaal op basis van de behandelde indicatoren. Binnen deze bandbreedte verschilt het optimum per indicator. NWEA stelt voor om uit te gaan van een maximum aantal vollasturen van 2650. Aangezien er naar inzicht van ECN en KEMA geen steekhoudend onderscheid te maken valt binnen de bandbreedte 2650-2750 vollasturen, geven ECN en KEMA ter overweging om bij het vaststellen van de norm ook de reactie van NWEA doorslaggevend te laten zijn (Hirdes,2012). Dientengevolge luidt het advies van ECN en KEMA om het maximum aantal vollasturen voor de categorie wind op land voor windrijke locaties te stellen op 2650.
Bij een extra categorie met een maximum aantal vollasturen van 2650 en een basisbedrag van 8,5 €ct/kWh, wordt het minder aantrekkelijk om verkeerd gedimensioneerde turbines te benutten. In plaats van een turbine met een vermogen van circaa 3 MW en een rotordiameter van 80 of 90 meter, zal men geneigd zijn om ofwel het vermogen te verkleinen ofwel de rotordiameter te vergroten. In beide gevallen leidt het tot lagere productiekosten van windenergie. Hoewel dit effect kwantitatief gering is – zeker vanwege de beperkingen binnen een traject van vergunningverlening, vertalen deze lagere kosten zich wel door in een lager basisbedrag, dus lagere uitgaven via de SDE+.
| 11 | Conclusies
Het Ministerie van EL&I heeft aan ECN onderzoek gevraagd naar het basisbedrag voor wind op land voor windrijke locaties met een maximum aantal vollasturen van 3050. Het daarbij behorende basisbedrag adviseren ECN en KEMA op 8,2 €ct/kWh. Op verzoek van het Ministerie van EL&I hebben ECN en KEMA overleg gevoerd met NWEA en dit heeft tot aanscherping van de inzichten geleid. Op basis van de in dat overleg op tafel gebrachte aandachtspunten hebben ECN en KEMA hun advies op de volgende punten aangescherpt:  De referentie-windsnelheid voor windrijke locaties is verlaagd van 7,5 naar 7,0 m/s.  De variabele O&M-kosten zijn gedifferentieerd naar windturbine.  De financiële consequenties ten opzichte van de vrije categorie zijn in kaart gebracht.  De basisbedragen bij andere vollasturenmaxima zijn berekend. Op basis van het onderzoek adviseren ECN en KEMA aan het Ministerie van EL&I een lagere vollasturennorm van 2650 te overwegen. Het corresponderende basisbedrag hierbij is 8,5 €ct/kWh. Bij 3050 vollasturen zijn turbinetypes die bedrijfseconomisch rendabel gebruikt kan worden beperkt tot met name de grote, doorgaans wat duurdere types. Door de lagere vollasturennorm – 2650 ten opzichte van 3050 – stijgt het basisbedrag weliswaar met 4%, maar de subsidiebasis (het aantal vollasturen) daalt daarentegen met 13%. ECN en KEMA zien hierbij zowel de effectiviteit als de efficiëntie van de SDE+-ondersteuning voor wind op land toenemen. De lagere vollasturennorm met bijbehorend basisbedrag draagt bij aan de effectiviteit en efficiëntie van de SDE+-ondersteuning voor wind op land, omdat windprojecten eerder voor SDE+-in aanmerking komen, omdat de extra categorie voor ontwikkelaars meerwaarde biedt ten opzichte van de vrije categorie van 9,0 €ct/kWh en omdat met hetzelfde budget meer windvermogen gecommitteerd kan worden.
Note on D8: Nick Rothengatter: More about SDE+: http://www.energeia.nl/news.php?ID=44767
Note on A9: Nick Rothengatter: average EU cijfers, not used in calculations. Also missing fixed o&m
Note on C10: Nick Rothengatter: Het ongewogen gemiddelde aantal vollasturen ligt op 3650 uur/jaar, met een spreiding tussen 3300 en 4000 uur per jaar. De inschatting van verwachte productiekosten is ca. 2 €ct/kWh hoger dan de inschatting van een half jaar geleden (Lensink et al., 2009a). Deze stijging wordt voornamelijk veroorzaakt door recentere inzichten in turbinekosten (incl. installatie), kosten van elektrische bekabeling, en onderhouds- en bedieningskosten (O&M-kosten) Source: ECN_20091101_Subsidie-aanvragen 950 MW tender (openbaar)
Note on D125: Nick Rothengatter: Om niet een zogenoemde 'open-einderegeling' op te tuigen is er voor gekozen te werken met een (theoretisch) maximum aantal vollasturen dat een windmolen draait. Op basis van dit aantal uren wordt in de SDE+-systematiek door ECN berekend wat de kostprijs per kWh voor windenergie is. Voor 2011 kwam dat bedrag op 9,6 cent per kWh. Elke windturbine kan dus maximaal aanspraak maken op een subsidie van 9,6 cent per kWh, bij een maximum van 2.200 vollasturen. Er mag altijd voor minder ingeschreven worden, niet voor meer. http://www.energeia.nl/news.php?ID=47904
Note on F161: Nick Rothengatter: Berekeningen advies SDE 2012
Note on C191: Nick Rothengatter: Gedetailleerde berekeningen SDE achter elkaar 'geplakt'
Note on D195: Nick Rothengatter: Om niet een zogenoemde 'open-einderegeling' op te tuigen is er voor gekozen te werken met een (theoretisch) maximum aantal vollasturen dat een windmolen draait. Op basis van dit aantal uren wordt in de SDE+-systematiek door ECN berekend wat de kostprijs per kWh voor windenergie is. Voor 2011 kwam dat bedrag op 9,6 cent per kWh. Elke windturbine kan dus maximaal aanspraak maken op een subsidie van 9,6 cent per kWh, bij een maximum van 2.200 vollasturen. Er mag altijd voor minder ingeschreven worden, niet voor meer. http://www.energeia.nl/news.php?ID=47904
Note on F207: Nick Rothengatter: Plannen of projecten voor windenergie kunnen tot nu toe worden weggezet in twee verschillende hokjes: of het betreft turbines op land (onshore), of in zee (offshore). Aan dat zwart-wit-plaatje wordt een dikke grijstint toegevoegd. Het ministerie van Economische Zaken, Landbouw en Innovatie introduceert in het kader van de SDE+-regeling in 2012 de categorie: 'wind in meer'. Dit blijkt uit een conceptadvies over de basisbedragen voor de SDE+ in 2012 dat door Kema en ECN is opgesteld in opdracht van EL&I. Het ministerie vroeg de onderzoeksinstellingen om naast wind op zee en wind op land ook te bekijken hoeveel subsidie er in windmolens in meren zou moeten worden gestoken om ze aantrekkelijk te maken. Dat is geen eenvoudige klus, blijkt uit het advies van Kema en ECN. Windmolens staan nog helemaal niet in meren, er komen er nu voor het eerst net een paar buitendijks te staan, met de voeten in het IJsselmeer. "Om de kosten van wind in meer te bepalen is informatie uit literatuur en enkele praktijkvoorbeelden gebruikt", schrijven Kema en ECN. Uitgegaan is van een investering van EUR 2.450 per kW vermogen, onderhoudskosten staan op EUR 12,40 per kW. "De kosten worden representatief geacht bij de wind- en omgevingscondities van het IJsselmeer", aldus Kema en ECN. Het project in de Noordoostpolder met buitendijkse molens was daarbij een belangrijk uitgangspunt. Directeur van de Nederlandse windenergie associatie (Nwea) Ton Hirdes denkt dat vooral de grotere meren zoals het IJsselmeer en andere bredere wateren interessant kunnen zijn, als haast volledig nieuwe optie. "We hebben nu zo'n 10 MW in Nederland die je min of meer 'wind in meer' kan noemen. Echt een heel klein beetje", zegt hij deze dinsdag in een telefonische reactie aan Energeia. Nuon heeft het Irene Vorrink windpark (16,7 MW), waarvan 28 molens 40 meter diep in het IJsselmeer staan vanaf de dijk. Volgens Hirdes staan er soms ook molens in plassen, maar dat valt dan onder wind op land. "Bij wind in meer zal het gaan om water met grotere oppervlakten." Source: Nieuwe categorie SDE+ uit de hoge hoed: na land en zee nu ook 'wind in meer' 20-07-2011 - Energeia
Note on D362: Nick Rothengatter: why is this more expansive for onshore compated to offshore?
Note on D420: Nick Rothengatter: De gemiddelde productiecijfers voor C-power voor de periode juli 2009 - mei 2011. Belwind is slechts vanaf januari 2011 in volle werking en dus zijn de gegevens niet weerhouden omwille van minder representatief.
Note on D422: Nick Rothengatter: estimates operators
Note on D423: Nick Rothengatter: De investering is vastgelegd op 3.800.000,00/MW. Deze inschatting wordt bevestigd door internationale studies en door de investeringskosten van de huidige Belgische offshore parken. In deze berekening wordt de basisinfrastructuur (zeekabel + electrische infrastructuur meegerekend)
Note on C480: Nick Rothengatter: 2006 euro
Note on D495: Nick Rothengatter: EWEA favours offshore wind development, is this reliable?
Note on D553: Nick Rothengatter: Netherlands 2010
Note on D560: Nick Rothengatter: ** geschatte gemiddelde beschikbaarheid / availability: 90% it appears from the 2010 version
Note on C595: Nick Rothengatter: Het windaanbod voor windenergie wordt uitgedrukt in de zogenoemde windex. De Windex is alleen beschikbaar voor wind op land. Een windex van 100 betekent dat het windaanbod gelijk is aan het gemiddelde van alle maanden in de periode 1996-2005. Deze periode is gekozen omdat het gezien wordt als een representatieve periode voor een lange reeks van jaren en tevens omdat er voor deze periode een consistente reeks gegevens beschikbaar is. De windexen voor de jaren tot en met december 2007 zijn afkomstig van Wind Service Holland (WSH), de windexen vanaf januari 2008 zijn afkomstig van het CBS Source CBS statline
Note on C605: Nick Rothengatter: Gecorrigeerd voor seizoen: In de winter waait het meestal meer dan in de zomer. Als gevolg daarvan zijn de windexen in de winter gemiddeld hoger dan in de zomer. Om dit seizoenseffect te kunnen beoordelen wordt ook een seizoensgecorrigeerde windex gepubliceerd. Voorbeeld: In januari 2004 is de windex 144. Gemiddeld genomen is de windex in januari 147. Daarmee heeft het in januari 2004 dus iets minder gewaaid dan gemiddeld in januari. De seizoensgecorrigeerde windex is dan dus 144/147*100=98. Een gecorrigeerde index ònder de 100 betekent dus minder wind dan verwacht, een gecorrigeerde index bóven de 100 betekent meer wind dan verwacht. De langjarig gemiddelde windexen per maand en kwartaal zijn berekend voor de periode 1996 tot en met 2005 en hebben de volgende waarden: Januari: 147 Februari: 143 Maart: 110 April: 89 Mei 85 Juni: 70 Juli: 67 Augustus: 54 September: 74 Oktober: 122 November: 106 December: 133 1e kwartaal: 133 2e kwartaal: 81 3e kwartaal: 65 4e kwartaal: 120.
Note on D635: Nick Rothengatter: Amalia + Egmond
Note on F662: Nick Rothengatter: Difference in CBS full load hours and calculated full load hours can be the result of the fact that CBS, I assume, takes into account the "in gebruik genomen" and "uit gebruik genomen" turbines. I only use installed capacity at the end of the year "opgesteld aan het einde van het jaar"
Note on B670: Nick Rothengatter: onshore data
Note on D683: Nick Rothengatter: Het aantal vollasturen voor de huidige generatie turbines ligt op ca. 2.200; voor oudere en/of minder windrijke locaties ligt het aantal rondom de 1.800 vollasturen. Gemiddeld levert 1 MW windvermogen dus 1 MW x 2.000 uur = 2.000 MWh aan elektriciteit op per jaar. http://www.nmu.nl/artikel/veelgestelde-vragen-over-windenergie
Note on C818: Nick Rothengatter: Note: these are windparks constructed around 2003. Data is therefore not used.
Note on D862: Nick Rothengatter: average medium costs for <100 MW and >100MW UK figures, not used for NL
Note on D943: Nick Rothengatter: average 16 projects
Note on C1083: Nick Rothengatter: verwijst naar ECN 2009 maar is in de referenties niet te vinden. Verder dus geen onderbouwing van de cijfers
Note on D1085: Nick Rothengatter: took average
Note on C1271: Nick Rothengatter: assumption monopile use
Note on D1296: Nick Rothengatter: included annual inflation over lifetime

## Calculations
Calculations
|  |  |  | Wind inland | [10 empty] | Wind coastal | [5 empty] | Wind offshore
[8 empty] | Sources | [10 empty] | Sources | [5 empty] | Sources | [5 empty] | Comments
|  |  | Data | New ETM | Old ETM | %∆ | %SD | ECN_KEMA_201001 | ECN and KEMA_201005 | ING 2011 | ECN_KEMA_201107 | Senternovum_2009 | CBS_2011 | Comment | New ETM | Old ETM | %∆ | %SD | Inland (new) | Comments | New ETM | Old ETM | %∆ | %SD | ING_2011 | ECN_KEMA_201007 | CREG_2011 | Nuon and Shell | CBS | KPMG_2011
Units/Region
Technical specifications
Capacity/yield
|  | Production capacity Gross | MWe | 3 | 3 | 0% |  | 3 | 3 | 3 | 3 | 3 |  | Assumed to be 3 MW, as standard in the ETM | 3 | 3 | 0% |  | 3 | Assumed to be 3 MW, as standard in the ETM | 3 | 3 | 0% | [7 empty] | Assumed to be 3 MW, as standard in the ETM
|  | Average effective output of nomimal capacity over lifetime | % | 100% | 100% | 0% |  | 100% | 100% | 100% | 100% | 100% |  | Assumed to be 100%, as standard in the ETM | 100% | 100% | 0% |  | 100% | Assumed to be 100%, as standard in the ETM | 100% | 100% | 0% |  | 100% | 100% | 100% | 100% | 100% | 100% | Assumed to be 100%, as standard in the ETM
|  | Production capacity Effective | MWe | 3 | 3 | 0% |  | 3 | 3 | 3 | 3 | 3 |  | Assumed to be 3 MW, as standard in the ETM | 3 | 3 | 0% |  | 3 | Assumed to be 3 MW, as standard in the ETM | 3 | 3 | 0% | [7 empty] | Assumed to be 3 MW, as standard in the ETM
|  | Net Electrical yield / efficiency | % | 97% | 97% | 0% |  | 97% | 97% | 97% | 97% | 97% |  | Assumed to be 97%, as standard in the ETM | 97% | 97% | 0% |  | 97% | Assumed to be 97%, as standard in the ETM | 97% | 97% | 0% |  | 97% | 97% | 97% | 97% | 97% | 97% | Assumed to be 97%, as standard in the ETM
|  | Capacity factor/ Load factor | % | 28.54% | 24.49% | 16.55% |  | 28.34% | 25% | 24.49% | 24.49% | 25.11% | 21.99% | Calculation from equivalent full load hours. | 28.54% | 27.4% | 4.167% |  | 28.54% | Calculation from equivalent full load hours. | 37.67% | 37.67% | 0% |  | 37.67% | 45.66% | 39.95% | 33.84% | 33.88% | 43.95% | Calculation from equivalent full load hours.
|  | Equivalent full load hours | hours | 2500 | 2145 | 16.55% |  | 2482.625 | 2190 | 2145 | 2145 | 2200 | 1926.75 | See comment in this cell for more elaborate argumentation. | 3000 | 2400 | 25% |  | 2500 | See comment in this cell for more elaborate argumentation. | 3500 | 3300 | 6.061% |  | 3300 | 4000 | 3500 | 2964.3951 | 2967.8363 | 3850 | See comment in this cell for more elaborate argumentation.
Other
|  | Construction time | years | 1 | 1 | 0% |  | 1 | 0.66667 | 1 | 1 | 1 |  | Assumed to be one year, as standard in the ETM | 1 | 1 | 0% |  | 1 | Assumed to be one year, as standard in the ETM | 1.5 | 1.5 | 0% |  | 1.5 | 1.5 | 1.2 |  |  | 1.5 | Assumed to be one and a half year, as standard in the ETM
|  | Weighted average cost of capital (WACC) | % | 10% | 10% | 0% |  | 10% | 10% | 10% | 5.1% | 5% |  | Assumed to be 10%, as standard WACC in ETM for big power plants | 10% | 10% | 0% |  | 10% | Assumed to be 10%, as standard WACC in ETM for big power plants | 10% | 10% | 0% |  | 10% | 10% | 10% |  |  | 10% | Assumed to be 10%, as standard WACC in ETM for big power plants
|  | Technical lifetime | years | 25 | 20 | 25% |  | 20 | 25 | 20 | 15 | 15 |  | See comment in this cell for more elaborate argumentation. | 25 | 18 | 38.89% |  | 25 | See comment in this cell for more elaborate argumentation. | 20 | 15 | 33.33% |  | 20 | 25 | 20 |  |  | 20 | See comment in this cell for more elaborate argumentation.
|  | Residual value | EURO/MW | 0 | 0 | 0% |  | 0 | 0 | 0 | 0 | 0 |  | See comment in this cell for more elaborate argumentation. | 0 | 0 | 0% |  | 0 | See comment in this cell for more elaborate argumentation. | 0 | 0 | 0% |  | 0 | 0 | 0 |  |  | 0 | See comment in this cell for more elaborate argumentation.
|  | Land use | km2 | [17 empty] | 0.5 | 0.2 | [8 empty] | See comment in this cell for more elaborate argumentation.
Finacial specifications
Investment costs
|  | Initial investment costs | EURO/MWe | 1391987.5 | 1429937.5 | -2.654% | 2.89% | 1429937.5 | 1350000 | 1400000 | 1350000 | 1430000 |  | Calculated average. | 1391987.5 | 1429937.5 | -2.654% | 0% | 1391987.5 | See comment in this cell for more elaborate argumentation. | 3902500 | 2500000 | 56.1% | 2.114% | 3900000 | 4000000 | 3800000 |  |  | 3910000 | Calculated average.
|  | Construction cost | EURO/Mwe | [5 empty] | 1350000 | [16 empty] | 4000000
|  | IDC | EURO/Mwe
|  | Overnight cost | EURO/Mwe |  |  |  |  | 1429937.5 |  | 1400000 | [8 empty] | 0 | [5 empty] | 3900000 |  |  |  |  | 3710000
|  | Contingency costs | EURO/MWe
|  | Bare plant cost (EPC) | EURO/MWe
|  | Owner's costs | EURO/MWe
|  | Decommissioning costs | EURO/Mwe | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | See comment in this cell for more elaborate argumentation. | 0 | 0 |  |  | 0 | See comment in this cell for more elaborate argumentation. | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 200000 | See comment in this cell for more elaborate argumentation.
Operating costs
|  | Fixed operating and maintenance costs | EURO/MWe/year | 49193.3 | 51187.5 | -3.896% | 6.811% | 53125 | 50951.5 | 44095 | 48595 | 49200 |  | See comment in this cell for more elaborate argumentation. | 49193.3 | 50400 | -2.394% | 0% | 49193.3 | See comment in this cell for more elaborate argumentation. | 142960.9619 | 105600 | 35.38% | 6.204% | 105600 | 150000 | 133000 |  |  | 145882.8856 | See comment in this cell for more elaborate argumentation.
|  | Personnel costs | EURO/MWe/year
|  | Insurance costs | EURO/MWe/year
|  | Connection costs | EURO/MWe/year
|  | Other | EURO/MWe/year
|  | Variable operating and maintenance costs | EURO/MWh | 0 | 0 | 0% | 56.05% | 0 | 11.85 | 11 | 11 | 11 |  | Variable operating costs included in fixed operating costs. | 0 | 0 | 0% | 0% | 0 | Variable operating costs included in fixed operating costs. | 0 | 0 | 0% | 0.2019% |  |  | 38 |  |  | 37.8917 | Variable operating costs included in fixed operating costs.
|  | Consumables | EURO/MWh
|  | Other | EURO/MWh
Total generation costs calculation outcomes
|  | Total electricity generation costs | EURO/MWh | 70.9025 | 92.194 | -23.09% | 7.311% | 80.4365 | 91.4169 | 98.4569 | 92.7319 | 94.0303 |  | See comment in this cell for more elaborate argumentation. | 59.0854 | 85.5458 | -30.93% |  | 70.9025 | See comment in this cell for more elaborate argumentation. | 156.5272 | 124.1717 | 26.06% | 16.37% | 154.6136 | 130.5 | 187.8286 |  |  | 183.7476 | See comment in this cell for more elaborate argumentation.
|  | Total capital costs | EURO/MWh | 28.9533 | 34.9985 | -17.27% | 31.57% | 30.2388 | 31.6438 | 34.2657 | 17.1189 | 17.3333 |  |  | 24.1278 | 31.4454 | -23.27% |  | 28.9533 |  | 59.9312 | 41.6667 | 43.84% | 8.115% | 63.5227 | 53 | 57.5429 |  |  | 54.5877
|  | Total depreciation costs | EURO/MWh | 22.2718 | 33.3319 | -33.18% | 23.8% | 28.7989 | 24.6575 | 32.634 | 41.958 | 43.3333 |  |  | 18.5598 | 33.1004 | -43.93% |  | 22.2718 |  | 55.75 | 50.5051 | 10.38% | 15.84% | 59.0909 | 40 | 54.2857 |  |  | 53.3766
|  | Total operating costs | EURO/MWh | 19.6773 | 23.8636 | -17.54% | 17.81% | 21.3987 | 35.1155 | 31.5571 | 33.655 | 33.3636 |  |  | 16.3978 | 21 | -21.92% |  | 19.6773 |  | 40.846 | 32 | 27.64% | 43.13% | 32 | 37.5 | 76 |  |  | 75.7833 | See coomments in this cell for more elaborate argumentation.
|  | Fixed operating costs | EURO/MWh | 19.6773 | 23.8636 | -17.54% | 4.861% | 21.3987 | 23.2655 | 20.5571 | 22.655 | 22.3636 |  |  | 16.3978 | 21 | -21.92% |  | 19.6773 |  | 40.846 | 32 | 27.64% | 7.996% | 32 | 37.5 | 38 |  |  | 37.8917
|  | Variable operating costs | EURO/MWh | 0 | 0 | 0% | 56.05% | 0 | 11.85 | 11 | 11 | 11 |  |  | 0 | 0 | 0% |  | 0 |  | 0 | 0 | 0% | 115.5% | 0 | 0 | 38 |  |  | 37.8917
|  | Total CO2 costs | EURO/MWh | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0% |  | 0 |  | 0 | 0 | 0% | 0% | 0 | 0 | 0 |  |  | 0
|  | Total fuel costs | EURO/MWh | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0% |  | 0 |  | 0 | 0 | 0% | 0% | 0 | 0 | 0 |  |  | 0
Note on N13: Nick Rothengatter: average Netherlands 2007 - 2010
Note on O13: Nick Rothengatter: Why we choose for 2500 full load hours for wind inland? This number is based on recent discussions about the SDE+ subsidy for wind inland. One of the main questions posed is if differentation is desirable to account for the high variability of wind project parameters in the Netherlands. In Ecorys_2009 and ECN and KEMA_201001 this question is investigated. Within these reports 16 wind projects are delivered by NWEA. These 16 projects are all submitted for the SDE 2009 subsidy and are located in 7 different provinces of the Netherlands. They range in total capacity from 0,85 - 108 MW and range in full load hours from 2000 - 3300. The individial turbine capacities range from 0,85 ; 2 ; 2,3 ; and 3 MW. 3300 full load hours for wind inland is relatively high but not uncommon (Ecorys). The average full load hours is 2487 amongst these 16 projects. We choose to follow this figure and set average full load hours at 2500 as this number is based on empirical data and tries to take into account the variability of inland wind projects in the Netherlands. We may be in the higher range but according to wind expert Bart Ummels this supports recent developments that wind turbines achieve higher full load hours. This has made possible due to a lower wind power density (W/m2). Turbines get bigger rotor area due to better design and therefore the power density falls resulting in higher full load hours (also reported at EWEA Offshore 2011, see notes). The number of 2200 is not based on empirical data but refers to the subisdy cap of older SDE calculations. The number of 1927 of the CBS functions as a lower boundary as the CBS takes into account all wind farms build in the Netherlands. This includes the relative old wind tubines. The ETM is not interested in including these as only the state-of-the-art is vital.
Note on V13: Nick Rothengatter: Why we choose for 3000 full load hours for wind coastal? The NWEA sample which contained 16 wind projects in which it is highly likely that some of these parks are located near the coast. This would explain for the high variability in full load hours within this sample (2000 to 3300). We choose to sit at the higher end of this spectrum and go for 3000 full load hours. An additional advantage to set the full load hours of wind at the coast at 3000 is that you get the following full load hours subidivison - 2500 (inland) ; 3000 (coastal) ; 3500 (offshore) - which makes an easy to comprehend difference between the locations.
Note on AE13: Nick Rothengatter: Average full load hours EWEZ 2007 - 2009
Note on AF13: Nick Rothengatter: average Netherlands 2007 - 2010
Note on AH13: Nick Rothengatter: Why we choose for 3500 full load hours for offshore wind? The Netherlands has at the moment (1-1-2012) only two offshore wind farms : Amalia (unknown full load hours) and Egmond aan Zee (average full load hours 2007 - 2009 is 2968). Further on you can see that there is an discrepancy in full load hours reported in reports (high) and CBS statistics (low). So what to choose? As wind turbines are getting bigger rotors, full load hours tend to increase [This has made possible due to a lower wind power density (W/m2). Turbines get bigger rotor area due to better design and therefore the power density falls resulting in higher full load hours (also reported at EWEA Offshore 2011, see notes]. Numbers in the range of 4000 - 4500 are possible but are yet to be empirically and commercially proven. Untill now we will stick to 3500 but continue to monitor recent developments carefully.
Note on AD15: Nick Rothengatter: Belwind: 165 MW park
Note on L17: Nick Rothengatter: economic lifetime
Note on M17: Nick Rothengatter: economic lifetime
Note on O17: Nick Rothengatter: This is supported by ECN_20100501_Technical and economic features of renewable electricity technologies which set technical lifetime to 25 years. The 15 years refer to economical lifetime.
Note on U17: Nick Rothengatter: ECN calculates with economical lifetime which is shorter than technical lifetime
Note on V17: Nick Rothengatter: Wind turbines from the leading international wind turbine manufacturers are usually type-certified to withstand the vagaries of a particular local wind climate class safely for 20 years, although they may survive longer, particularly in low-turbulence climates. This is supported by ECN_20100501_Technical and economic features of renewable electricity technologies which set technical lifetime to 25 years. The 15 and 20 years refer to economical lifetime.
Note on AD17: Nick Rothengatter: economical lifetime
Note on AH17: Nick Rothengatter: Offshore wind farms first really need to prove thet can last more than 20 years. Stakeholders typically assumed project life spans between 20 and 25 years (ARUP).
Note on O18: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of wind turbines, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on V18: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of wind turbines, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on AH18: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of wind turbines, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on AH19: Nick Rothengatter: Wind turbines at sea are placed further apart than those at land (even when they are the same size) because it takes a longer distance for the air to become 'in equilibrium' at sea (the reason is that at sea the wind is less turbulent). The typical area that a turbine at sea occupies is 0,5km2 in the Netherlands. For Amalia this is 0,75km2 and for EWEZ this is 0,25 km2. The turbines to-be-placed in the 12 consented wind parks will occupy (on average) 0,55 km2 which is in line with our new land use number (notes: Quintel Intelligence, 2012).
Note on V22: Nick Rothengatter: Both fixed as variable operational maintenance costs are put under fixed operational costs (see output wind). The main reason is that operators treat variable O&M as fixed O&M as wind turbines are maintained on a fixed bases. Another reason for this is that this was done in a previous ETM cost analysis as well. When reports do make difference in O&M Wind inland fixed O&M are set at 25 EURO/MW when data is missing in reports. Assumption is based on ECN/KEMA 2008 (see main assumptions)
Note on C23: Nick Rothengatter: Is "all-in" or installed cost.s, which sums overnight construction costs and interst during construction (IDC).
Note on C24: Nick Rothengatter: IDC stands for interest during construction. The ETM doesn't use IDC but calculated the costs of capital. The cost of capital is the amount of money that is spent yearly to finance the required investment for the device. It assumes that the capital required either costs money to finance, or could have been used to generate money elsewhere. This is a percentage of the average investment over the lifetime of a device, which is called the WACC, the weighted average cost of capital. The WACC is very country specific. In the ETM the WACC is set to 6% for domestic appliances and to 10% for industrial and larger applications.
Note on C25: Nick Rothengatter: Analysts often refer to the construction costs as to “overnight cost” or undiscounted capital outlays. This is the cost that will be realized if the power plant could be built instantaneously or during one night. It does not incorporate financing charges and inflation during the construction time (IDC).
Note on C26: Nick Rothengatter: cost increases resulting from unforeseen technical or regulatory difficulties
Note on C27: Nick Rothengatter: EPC stands for Engineering, Procedurement and Construction. This is also known as the "Bare plant costs".
Note on C28: Nick Rothengatter: Owner's costs are the costs that are related to develop and start up the plant (e.g. land, cooling infrastructure, administration and associated buildings, site works, switchyards, project management, licences, etc.)
Note on O29: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of wind turbines, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on V29: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of wind turbines, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on AH29: Nick Rothengatter: Most developers assume that dismantling costs will be compensated by the residual value of wind turbines, and do not factor them into their calculation. We follow this method by setting both residual value as decommission costs equal to zero.
Note on I31: Nick Rothengatter: average 16 projects Netherlands
Note on J31: Nick Rothengatter: Onshore fixed O&M part added of 25EURO/MW
Note on L31: Nick Rothengatter: Onshore fixed O&M part added of 25EURO/MW
Note on M31: Nick Rothengatter: Onshore fixed O&M part added of 25EURO/MW
Note on O31: Nick Rothengatter: Calculated average. Both fixed as variable operational maintenance costs are put under fixed operational costs (see output wind). The main reason is that operators treat variable O&M as fixed O&M as wind turbines are maintained on a fixed bases. When reports do make difference in O&M Wind inland fixed O&M are set at 25 EURO/MW when data is missing in reports. Assumption is based on ECN/KEMA 2008 (see main assumptions). Fixed O&M examples are land rent costs and grid connection costs.
Note on V31: Nick Rothengatter: Calculated average. Both fixed as variable operational maintenance costs are put under fixed operational costs (see output wind). The main reason is that operators treat variable O&M as fixed O&M as wind turbines are maintained on a fixed bases. Another reason for this is that this was done in a previous ETM cost analysis as well. When reports do make difference in O&M Wind inland fixed O&M are set at 25 EURO/MW when data is missing in reports. Assumption is based on ECN/KEMA 2008 (see main assumptions). Fixed O&M examples are land rent costs and grid connection costs.
Note on AB31: Nick Rothengatter: No data available, therefore take default value
Note on AH31: Nick Rothengatter: Calculated average. Both fixed as variable operational maintenance costs are put under fixed operational costs (see output wind). The main reason is that operators treat variable O&M as fixed O&M as wind turbines are maintained on a fixed bases. Another reason for this is that this was done in a previous ETM cost analysis as well. When reports do make difference in O&M Wind inland fixed O&M are set at 25 EURO/MW when data is missing in reports. Assumption is based on ECN/KEMA 2008 (see main assumptions). Fixed O&M examples are land rent costs and grid connection costs.
Note on K36: Nick Rothengatter: assumption as variable o&m are missing
Note on Q36: Nick Rothengatter: fvariable o&m are moved to fixed o&m
Note on X36: Nick Rothengatter: variable o&m costs are tranferred to recalculated into fixed o&m costs
Note on AD36: Nick Rothengatter: reliable data from belgium wid operators
Note on O40: Nick Rothengatter: Main difference compared to previous analysis are the full load hours and the technical lifetime. These new input values mainly contribute to the new calculated EURO/MWh price.
Note on V40: Nick Rothengatter: Main difference compared to previous analysis are the full load hours and the technical lifetime. These new input values mainly contribute to the new calculated EURO/MWh price*. *The costs specifications are copied from the new wind inland values. The ETM treats the categories wind inland and wind coastal alike with the only exeption that the full load hours differ.The full load hours for wind turbines that are placed in coastal zones are significantly higher than for turbines placed more inland, thereby effecting the costs. This leads to big costs differences between wind inland and wind coastal.
Note on AH40: Nick Rothengatter: Almost all input variables have changed significantly. Fixed O&M increases,investment costs increases, technical lifetime increases and full load hours increases. Zie verhaal hieronder. Toegenomen kosten worden grotendeels opgeheven door toename van de full load hours. De kosten voor het bouwen van windturbines op zee zijn de laatste vijf jaar toegenomen. Oorzaken zijn onder meer gestegen grondstofprijzen (koper, staal), de geringe concurrentie en schaarste aan windturbines. Van Zuijlen: “Ook de condities op zee bleken grilliger dan verwacht. Wat je nu ziet is dat het aantal fabrikanten ﬂink is toegenomen. Daardoor is er meer concurrentie en een betere marktwerking.” Source: FD_201109_Offshore 2011 - Nederland biedt legio kansen voor wind op zee Door: Ernst van Zuijlen, voorzitter van FLOW A tightness in the market of wind turbine manufacturers and installation service providers Surge commodity prices Distance to shoreline has increased Labour cost increased "Conditions at sea appeared more difficult than expected" Source: Van der Zwaan, B_20110522_Evolving Economics of Offshore Wind Power - Cost reductions from scaling and learning Ook RWE-man Laut van Seventer sluit zich aan bij de kaasschaafmethode over de hele keten: "Kostenreductie is mogelijk op een breed front." Volgens hem is er nu te weinig concurrentie om tot innovatie uit te dagen. Er zijn te weinig installatieschepen om de molens en funderingen neer te zetten, er zijn te weinig turbines die aantoonbaar bruikbaar zijn op zee. Dat resulteert in een kostprijs die hoger is dan nodig. Source: http://www.energeia.nl/news.php?ID=47799 Nearly all (91%) of the developers we surveyed said supply chain capacity constraints are a significant problem for offshore wind construction to such an extent that 82% said they create the risk of a seller’s market (figure 13). Fifty-five per cent of developers saw supply chain risks as likely to increase in the future. But few thought it would be harder for them to manage future supply chain risks and two-thirds (64%) were satisfied with how they had managed such risks so far. PwC_20110512_Offshore proof - turning windpower promise into performance
Note on AH43: Nick Rothengatter: Improved budgeting – reflecting track record and experience gained from operating early projects (e.g., better handle of post-installation repair work, frequency of parts replacement, performance and availability levels, accessibility) where costs had perhaps been underestimated at first. Ernst and Young_20090427_Cost of and financial support for offshore wind

## Output Wind
Output
The (new) output values are used to update the costs converters in the Energy Transition Model.
Wind
|  |  |  | Wind inland | New | Wind coastal | New | Wind offshore | New
|  | all costs excl tax and subsidies | sector | energy |  | energy |  | energy
Technical
|  | Nominal electrical capacity | MW | 3 | 3 | 3 | 3 | 3 | 3
|  | Average effective output of nomimal capacity over lifetime | % | 100% | 100% | 100% | 100% | 100% | 100%
|  | full load hours | hour / year | 2145 | 2500 | 2400 | 3000 | 3300 | 3500
|  | electrical efficiency | % | 97% | 97% | 97% | 97% | 97% | 97%
|  | heat efficiency | % | 0% | 0% | 0% | 0% | 0% | 0%
Cost
|  | Initial investment (excl CCS) | euro / MWe | 1429937.5 | 1391987.5 | 1429937.5 | 1391987.5 | 2500000 | 3902500
|  | Inititial investment per unit for CCS | euro / MWe | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of installing | euro / MWe | 0 | 0 | 0 | 0 | 0 | 0
|  | Residual value after lifetime | euro / MWe | 0 | 0 | 0 | 0 | 0 | 0
|  | Decommissioning costs | euro / MWe | 0 | 0 | 0 | 0 | 0 | 0
|  | fixed operation and maintenance costs | euro / MWe / year | 51187.5 | 49193.3 | 50400 | 49193.3 | 105600 | 142960.9619
|  | variable operation and maintenance costs (excl CCS) | euro / full load hour | 0 | 0 | 0 | 0 | 0 | 0
|  | additional operation and maintenance costs for CCS (per full load hour) | euro / full load hour | 0 | 0 | 0 | 0 | 0 | 0
|  | Weighted average cost of capital | % | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
|  | Do emissions have to be paid for through the ETS? | yes=1 / no=0 | 1 | 1 | 1 | 1 | 1 | 1
Other
|  | Land use per unit | km2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.5
|  | Construction time | year | 1 | 1 | 1 | 1 | 1.5 | 1.5
|  | Technical lifetime | year | 20 | 25 | 18 | 25 | 15 | 20

## Supporting variables
Supporting variables
| Name | Value | Remarks
| Exchange_rate_iea_2010 | 0.71585 | All costs were in 2008 USD
| Exchange rate OECD_IEA_2010 | 0.74074
| Exchange rate IEA_NEA_2010 | 0.68
| Exchange rate DECC_2010 | 1.1
| Exchange rate AREP_2011 | 1.1364 | Pound to euro 2010
| kw to MW | 1000
| Full capacity | 100%
| # hours in a year | 8760
| capacity_wind | 3
| WACC | 0.1
| efficiency wind | 97%
| GJ_to_MW | 1000
| Exchange rate ECN_2010 | 1.0321 | Inflation Netherlands 2008 and 2009 (CBS)
| Exchange rate Belwind | 1.0657 | 2006 to 2010 EURO

## Reading guide
Reading guide
The excel file is set up to provide you an insight into the research done on the electricity generation costs that supports parts of the ETM input database. The excel file is built up by the following tabs:
1. Overview
The overview tab. Here you can find introducing remarks and coding explanation. Next to this the tab gives the outcomes and the changes of the total generation costs.
2. Assumptions
This tab gives you a list of the most important assumptions. More general assumptions about the ETM can be found on the wiki, her you can also find more information about the cost calculations: http://wiki.quintel.com/index.php/Documentation#Modeling_logic
3. Sources
Here you can find an alphabetically-sorted list of all the sources consulted. Sources can be used for multiple reasons (e.g. for lines of argumentation, definitions, costs data). Some of the consulted sources are used in the calculations tab, but most aren’t. A short reason why some sources are included but others aren’t can be found in the column next to the name of the source. The sources can be retrieved using the refmanager of the ETM: http://refman.et-model.com/
4. Notes
Each of the consulted sources contained information. What was judged as valuable information is noted here. As described above the information varies from definitions and general opinions or trends to more specific costs specifications.
5. Calculations
The so-called “heart” of the analysis. Whenever there were sources which outlined costs specifications these can be found back in the calculations tab. More detailed information about each of these values can be traced back to the notes page in which you can see from which report and page number these can be accessed to. Just use Ctrl+F in the notes tab using the name of your source of interest located in the calculations. The last column of each technology contains valuable comments in which you can find more elaboration.
6. Output ‘technology’
New output is compared to the old output. Data is retrieved from the results of the calculations tab. This new output is used in the input database for the ETM.
7. Supporting variables
Some of the calculations done are performed using supporting variables like hours_a_year , MW_to kW or value conversions (all data is recalculated to 2010 EURO). In this way it is easier to understand each of the recalculations done.